## Rental Home Insp Checklist
RENTAL HOME INSPECTION CHECKLIST | 681 Maryland Avenue, Tampa, Florida |  |  | Dreamscape Realty Corporation
| LOCATION |  |  | MANAGED BY
| Electrical Panel |  | Smoke Detectors
| o | Service amps adequate for usage | o | Properly installed and operable
| o | Properly grounded and in good condition | o | Installed in correct locations
| o | No open circuits in box | o
| o | All circuits labeled
| o | If fuses - proper sizes | Stairways
| o | Adequate clearance and easy access | o | Handrails if 5 or more steps
| o |  | o | Lighted correctly
|  |  | o | Steps stable, unbroken & of adequate strength
General Electrical
| o | Covers on switches & outlets | Rooms
| o | Splices to code in covered boxes | o | Walls, floors & ceiling intact & maintained
| o | Wire in conduit where required | o | No padlocks or interior keylocks on doors
| o | GFCI's where required & operable | o | Unobstructed egress with and out of home
| o | Switches, outlets & fixtures operable | o | Adequate area & height & proper layout
| o | Minimum 2 spaces outlets in all rooms | o | Fireplaces, wood stoves operable & maintained
| o | Adequate light fixtures, with globes as needed | o | No rubbish or garbage accumulation
| o | Buffer space around lights to combustibles | o | Basement bedrooms have egress windows
| o | Safe, limited use of extension cords | o | Bedrooms and bathrooms have privacy doors
| o |  | o | Bedrooms separated from combustion equip.
|  |  | o | Proper locations & sizes for light & ventilation
| Water Heater |  | o | Proper for egress and lockable
| o | Gas shut-off valve | o | Snug fit, openable & not broken or cracked
| o | Proper pop-off valve & drop pipe | o | Recently installed screens
| o | Vent secured & properly pitched | o | Bathrooms need mechanical or window venting
| o | Operable, with no rust holes or leaks
| o | Adequate surrounding clearance | Exterior Doors
|  |  | o | Proper for egress and lockable
|  |  | o | Snug fit, openable & not broken
Furnace
| o | Gas shot-off valve and on/off switch | House Exterior
| o | Vent secured & properly pitched | o | Roof waterproof & maintained
| o | Filters are cleaned periodically | o | Wall, foundations, Chimney maintained
| o | Operable, provides minimum 68 degrees | o | Porches solid & maintained
| o | Adequate surrounding clearance | o | Guardrails on porches over 30" high
| o |  | o | Handrails if 5 or more steps
| Laundry |  | o | No openings for animal infestation
| o | Proper dryer vent to exterior with cover | o | House numbers, readable from street
| o | Gas shut-off valve, capped if unused | o
| o | Proper and grounded electrical connection | Garage
| o | Washtub faucet backflow prevention | o | Proper electrical service, wiring, fixtures, etc.
| o |  | o | Structure solid & maintained
o
| Sinks, Bathtubs & Showers |  | Yard
| o | Proper number & location | o | Fences built to code & maintained
| o | Operable, with bot & cold water | o | Grass, shrubs, trees maintained to code
| o | Functioning drains with proper traps | o | Accessory houses maintained to code
| o | No leaks or drips | o | Pools maintained and secure
| o | Garage disposal operable if present | o | No illegal vehicles or illegal parking
| o |  | o | No trash, litter, debris, car parts or garbage
| Toilets |  | o | No unsafe or unsanitary conditions
| o | Operating properly | o | Pet waste removed regularly
| o | No overflow to sewer from tank
| o | No leaks or continuous water running | Other
| General Plumbing |  | o
| o | Installed correctly with no leaks | o
| o | Proper venting | o
| o | Functioning drains with proper traps & covers | o
| o |  | o
| o |  | o

## ©
© TemplateLab.com