# SPECIFICATIONS - DETAILED PROVISIONS

Section 01026 - Schedule of Values ADDENDUM NO. 3

TABLE OF C O N T E N T S

PART 1 - GENERAL	1

  - SUMMARY	1

  - PREPARATION	1

  - SUBMITTAL	1

# PART 2 - EXECUTION	2

2.01	SAMPLE SCHEDULE OF VALUES	2

Rev:10/23/14

# [PAGE LEFT INTENTIONALLY BLANK]

# SECTION 01026 SCHEDULE OF VALUES

PART 1 - GENERAL

  - SUMMARY

    - Section Includes: Preparation, format, and submittal of Schedule of Values.

    - The Schedule of Values will establish unit prices for individual items of work.

    - The Schedule of Values will be the basis for payment of contract work and will be used to establish payment for any “extra work” i.e., work requested which is beyond the scope of the original contract.

  - PREPARATION

    - Prepare satisfactory Schedule of Values identifying costs of items of work shown in sample included at the end of the Section.

    - Assign unit prices to items of work and calculate total prices, which aggregate  the Contract Price. Base unit prices on costs associated with scheduled activities for each item of work. For any bid item broken down into unit prices,  Contractor shall verify that the unit cost of the items does not extend beyond two decimal places and that the unit cost when multiplied by the unit quantity equals the exact bid item value with no remainder.

  - SUBMITTAL

    - Submit preliminary Schedule of Values at the preconstruction meeting to the District for review and approval. DO NOT SUBMIT THE SCHEDULE OF VALUES WITH YOUR BID PACKAGE.

    - Submit corrected Schedule of Values within ten (10) days upon receipt of reviewed or rejected Schedule of Values for approval by the District.

    - Upon request, support prices with data which will substantiate their correctness.

# PART 2 - EXECUTION

2.01        SAMPLE SCHEDULE OF VALUES

The following is a sample and acceptable form for Schedule of Values.

The District may request additional detail as necessary to adequately represent the Scope of Work. The contractor may provide an additional breakdown of any of the items listed below. THE CONTRACTOR SHALL VERIFY ALL QUANTITIES AND ITEMS OF WORK PRIOR  TO SUBMITTAL.

# SCHEDULE OF VALUES

| Item No. | Qty | Unit | Description | Unit Cost | Total Cost |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | LS | Mobilization and Approved: Bonds, Insurance, Schedule of Values, | Preset | $250,000 |
| 2 | 1 | LS | Provide technical support service for APG Neuros Blowers at MVRWRF, SJVRWRF and TVRWRF | Preset | $90,000 |
|  |  |  | MVRWRF Site |  |  |
| 3 | 1 | LS | Remove, recondition and relocate existing blower NX300 from TVRWRF to MVRWRF and install it at MVRWRF in accordance with contract drawings and specifications. | Lump Sum |  |
| 4 | 1 | LS | Install new MCP and programing for blowers control | Lump Sum |  |
| 5 | 1 | LS | Demolish existing exhaust fans, install new exhaust fans and add exhaust louvers in accordance with contract drawings and specifications. | Lump Sum |  |
| 6 | 1 | LS | Upgrade existing blower PLC, modify process air control system and make connection to MCC 3MA in accordance with contract drawings and specifications. | Lump Sum |  |
| 7 | 1 | LS | Provide Process control and integration service | Lump Sum |  |
| 8 | 1 | LS | Provide Arc Flash/Short Circuit Coordination Study | Preset | $63,200 |

| Item No. | Qty | Unit | Description | Unit Cost | Total Cost |
| --- | --- | --- | --- | --- | --- |
|  |  |  | SJVRWRF Site |  |  |
| 9 | 1 | LS | Provide Arc Flash/Short Circuit Coordination Study | Preset | $60,350 |
| 10 | 1 | LS | Install one blower and associated piping, valve, appurtenance and control system in accordance with contract drawings and specifications. | Lump Sum |  |
| 11 | 1 | LS | Modify existing MCP and programing to all control all blowers | Lump Sum |  |
| 12 | 1 | LS | Install one generator, associated appurtenance and control system in accordance with contract drawings and specifications. | Lump Sum |  |
| 13 | 1 | LS | Install one bulk fuel storage tank, piping and control system in accordance with contract drawings and specifications. | Lump Sum |  |
| 14 | 1 | LS | Install new generator circuit breaker section and connect new breaker section to existing MS Bus B. Modify MCC 18 and make connections in accordance with contract drawings and specifications. | Lump Sum |  |
| 15 | 1 | LS | All associated civil work to install the blower, generator and storage tank. | Lump Sum |  |
| 16 | 1 | LS | Provide Process control and integration service | Lump Sum |  |
| 17 | 1 | LS | Expand and modify controls associated with the medium voltage main switch gear/generator paralleling switchgear and control systems at SJVRWRF. (Refer to Appendix M for details.) | Preset | $295,895 |
| 18 | 1 | LS | Provide one diesel generator at SJVRWRF. (Refer to Appendix O for details.) | Preset | $486,817 |

| Item No. | Qty | Unit | Description | Unit Cost | Total Cost |
| --- | --- | --- | --- | --- | --- |
|  |  |  | TVRWRF Site |  |  |
| 19 | 1 | LS | Provide Arc Flash/Short Circuit Coordination Study | Preset | $26,000 |
| 20 | 1 | LS | Remove three of existing blowers, install three new blowers and associated piping and appurtenance in accordance with contract drawings and specifications. | Lump Sum |  |
| 21 | 1 | LS | Install new redundant MCP and modify existing MCP, upgrade PLC hardware | Lump Sum |  |
| 22 | 1 | LS | Install generator, control and appurtenance in accordance with contract drawings and specifications. | Lump Sum |  |
| 23 | 1 | LS | Install bulk fuel storage tank, piping and appurtenance in accordance with contract drawings and specifications. | Lump Sum |  |
| 24 | 1 | LS | Install 12kV conductors in existing spare conduit in accordance with contract drawings and specifications. | Lump Sum |  |
| 25 | 1 | LS | Install new and modify existing process air control system for new blowers, generator and fuel storage system in accordance with contract drawings and specifications. | Lump Sum |  |
| 26 | 1 | LS | Demolish existing heating loops system in Blower Building No. 1, piping, appurtenance in accordance with contract drawings and specifications. | Lump Sum |  |
| 27 | 1 | LS | Civil work to install blower, generator, fuel storage, all project components. | Lump Sum |  |
| 28 | 1 | LS | Provide Process control and integration service | Lump Sum |  |
| 29 | 1 | LS | Recondition existing APG Neuros blower | Preset | $75,500 |
| 30 | 1 | LS | Provide one diesel generator at TVRWRF. (Refer to Appendix N for details.) | Preset | $674,871 |

| Item No. | Qty | Unit | Description | Unit Cost | Total Cost |
| --- | --- | --- | --- | --- | --- |
| A1 | 1 | LS | This line item is an allowance to provide a rented temporary boiler at TVRWRF during project construction in accordance with the contract documents. Refer to Special Condition SC-56. | PRESET | $30,000 |
| TOTAL (MUST EQUAL BID AMOUNT) |

DO NOT SUBMIT THE SCHEDULE OF VALUES WITH YOUR PROPOSAL PACKAGE

END OF SECTION 01026