Date

|  | PANEL LOAD CALCULATION AND SCHEDULE |
| --- | --- |
| Manufacturer's Serial Number |  | Panel |

| Load Type | Connected | Demand | Demand |
| --- | --- | --- | --- |
|  | Load | Factor | Load |

Lighting

Gen use receptacles <10 KVA

Gen use receptacles > 10 KVA

Motors & compressors

(Largest)

Computer receptacles

Mechanical & HVAC

Kitchen equipment

Miscellaneous

Miscellaneous

|  |  | X 125% | = |
| --- | --- | --- | --- |
|  |  | X 100% | = |
|  |  | X 50% | = |
|  |  | X 100% | = |
| ( | ) | X 25% | = |
|  |  | X 100% | = |
|  |  | X 100% | = |
|  |  | X ____% | = |
|  |  | X 100% | = |
|  |  | X_____% | = |
|  |  | X_____% | = |
|  |  | X_____% | = |

240/120

208/120

480/277

Definitions:

Connected load

Single phase

Three phase

Connected load

Connected amps

Demand load

Demand amps

- The nameplate rating of all appliances that are fastened in place, permanently connected to located to be on specific circuit. (Water heaters, space heaters, ranges, refrigerators, etc.)

- 180 VA for each general use receptacle

- Maximum VA of lighting fixtures

- Full load amps/KVA of all motors from Table 430-147, 148, 149 and 150 of the National Electric Code

Demand calculated load -

The connected load after any code required adjustment factor has been applied. Load calculations shall be submitted/expressed in KVA and converted to amps when sizing feeders and equipment.

F623-017-000 panel load calculation 8-98  (page 1 of 5)

| . | 200A | . | SPARE |
| --- | --- | --- | --- |
|  |  | 3P |  |

208/120V, 3 PHASE

|  | . | 200A | 3P | . |  |  |  | SPARE |  |  |  |  | MLO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | <10000A |  |  | 400ABUS |
|  |  |  |  |  |  |  |  |  | (2) 2" GALV RIGID STEEL |  | SYM |  | MLO |
|  |  |  |  |  |  |  |  |  | OR (1) 3" GALV RIGID STEEL |  |  |  |  |  |
|  |  | 400A | 3P |  |  |  |  |  |  |  |  |  |  |  |
|  | . |  |  | . |  |  |  | 2 SETS (4) 3/0 THHN CU & #3 CU GND |  | 400ABUS |
|  |  |  |  |  |  |  |  |  |  | <10000A |  |  |  |
|  |  | 100A | 3P |  |  |  |  |  |  |  | SYM |  | 100ABUS |
|  |  |  |  |  |  |  |  |  | (1) 2" GALV RIGID STEEL |  |  |  |  | MLO |
|  | . |  |  | . |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | (4) 3/0 THHN CU & #8 CU GND |  |  |  |  |  |

| PANELK | SEC.2 |  |
| --- | --- | --- |
| PANELK | SEC.1 | -THRU LUGS |
|  |  | FEED |
| PANELC |  |

| UTILITY TRANSFORMER |  |  |  |  |  |  | DISTRIBUTION PANEL (MKP), 1200A, |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | MAIN |

| . | 200A | 3P | . |
| --- | --- | --- | --- |
| . | 200A | 3P | . |

(1) 2" GALV RIGID STEEL

  - 3/0 THHN CU & #6 CU GND

- 2" GALV RIGID STEEL

  - 3/0 THHN CU & #6 CU GND

SYM <10000A

SYM <10000A

| MLO |  | PANELB |
| --- | --- | --- |
| 225A | BUS |  |
| 200AM.BKR | PANELA |
| 225A | BUS |  |

|  |  | - (4) - 350 KCMIL CU | GALV RIGID STEEL | SERVICE POINT |
| --- | --- | --- | --- | --- |
|  |  | SETS | (4) 3" |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1200ABUS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  | . | 1200A | . |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3P |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x37650A |
|  | SECTION |  | )) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | SYM. |
|  | CT |  |  |  | M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SAMPLE

ONE - LINE

DIAGRAM

F623-017-000 sample one-line diagram  8-98  (page 2 of 5)

|  | Panel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PANEL |  |  |  |  | Bus Rating |  | Single Phase | Voltage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ____________ |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | SINGLE |  |  |  |  | ___________ |  |  | Iso, GND |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Fed-thru lugs |  |  |  |  |  |  |  |  |
|  | AIC |  |  | 10K |  |  | 14K |  |  | 18K |  |  | 22K |  |  | 25K |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PHASE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 42K |  |  | 65K |  |  | 100K |  |  | 150K |  |  | 200K |  |  |  |  |  |  |  | Double lugs |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Circuit Description |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Circuit Description |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | Bus |  | Code |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Load (VA) | Code | Breaker |  |  | Breaker |  | Load (VA) |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 2 |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 4 |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 6 |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 8 |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 10 |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 12 |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 14 |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 16 |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 18 |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 20 |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 22 |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 24 |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 26 |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 28 |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 30 |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 32 |
| 33 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 34 |
| 35 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 36 |
| 37 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 38 |
| 39 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 40 |
| 41 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 42 |
|  | Code description | L = Lighting loads |  |  |  | M = Total | motor load |  |  |  |  | S = Dedicated receptacles | K = Kitchen equipment |  |  |  |  |
|  |  |  |  |  |  |  | R = General use receptacles |  | LM = Largest single motor |  | H = HVAC | Z = Miscellaneous or appliances |
|  | F623-017-000 | single phase panel | 8-98 (pg 3 of 5) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Fed

form

Location

SCHEDULE

Main	Main

lugs	breaker

only

A	A

3	4

-	-

wire	wire

208/120	240/120

|  | Panel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PANEL |  |  |  |  | Bus Rating |  | Single Phase | Voltage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ____________ |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | THREE |  |  |  |  | ___________ |  |  | Iso, GND |  | 208/120 |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Fed-thru lugs |  |  |  |  |  |  |
|  | AIC |  |  | 10K |  |  | 14K |  |  | 18K |  |  |  | 22K |  |  | 25K |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PHASE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 42K |  |  | 65K |  |  | 100K |  |  |  | 150K |  |  | 200K |  |  |  |  |  |  |  | Double lugs |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Circuit Description |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Circuit Description |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Bus |  | Code |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Load (VA) | Code | Breaker |  |  | Breaker |  | Load (VA) |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 2 |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 4 |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 6 |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 8 |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 10 |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 12 |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 14 |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 16 |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 18 |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 20 |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 22 |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 24 |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 26 |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 28 |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 30 |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 32 |
| 33 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 34 |
| 35 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 36 |
| 37 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 38 |
| 39 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | B |  |  |  |  |  |  |  |  |  |  |  |  | 40 |
| 41 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  |  |  |  |  |  |  |  |  |  |  |  | 42 |
|  |  |  |  | L = Lighting loads |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Code description |  |  |  |  | M = Total | motor load |  |  |  | S = Dedicated receptacles |  | K = Kitchen equipment |  |  |  |  |
|  |  |  |  |  |  |  |  | R = General use receptacles |  | LM = Largest single motor |  |  |  | H = HVAC |  | Z = Miscellaneous or appliances |
|  | F623-017-00 0three | phase panel | 8-98 (pg 4 of 5) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Fed

form

Location

SCHEDULE

Main	Main

lugs	breaker

only

A	A

3	4

-	-

wire	wire

240/120	480/277

Please check the items submitted

|  |  |  |  |  |  |  |  |  |  |  | Applicant: Fill out completely |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| For Postal Delivery |  |  |  |  |  |  |  | Manufacturer | 1 |  | Mfg No. | 2 |  |
| Department of Labor and Industries |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Factory Assembled Structures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Plans to be returned to: Address |  |  |  |
| PO Box 44430 |  |  | FB |  |  |  |  |  |  |  |  |
| Olympia WA 98504-4430 |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |
|  |  |  | CCF CH 11 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | City/State/ZIP |  |  |  |  |  |  |
| For Non-Postal Delivery (e.g., FedX, UPS) |  | WA Only |  |  |  |  |  |  |  |  |  |  |  |
|  |  | WA Rev/ORCourtesy |  |  |  |  |  |  |  |  |  |  |
| Department of Labor and Industries |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | OR Rev/WA Courtesy |  |  | FOR DEPARTMENT USE ONLY |  |  |  |
| Factory Assembled Structures |  |  |  |  |  |  |  |  |  |
|  |  |  | _______ Other state |  |  | Fee Ledger Sheet |  |  |  | Application ID |  |
| 7273 Linderson Way SW |  |  | State ID | reciprocity |  |  |  |  |  |  |  |  |
| Tumwater WA 98501 |  |  |  |  | # |  |  |  |  |  |  |  |
| www.wa.gov/lni (case sensitive) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Ap No. |  | Date approved | Expiration date |  |
| ELECTRICAL PLAN APPROVAL REQUEST |  |  |  |  |  |  |  |  |  |  |  |
| FACTORY BUILT STRUCTURES & COMMERCIAL COACHES |  |  |  |  |  |  |  | $ |  |  |  |
|  |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Contact person's printed name: |  |  |  |  |  |  |  |  | Date |  |  | Fee enclosed |  |  |  |
|  | Signature |  |  |  |  |  | Phone No |  | FAX No |  |  |  |

| 5 | New plan 6 | Addendum | 7 | Renewal | 8 | Resubmittal | Electrical servic: | 9 |  | Occupancey Group: |  | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  | / | / |  |
|  | Plan Approval No |  | Building |  | Amps |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | 11 |  |  |
|  | Serial No. |  |  | Area Sq. Ft |  | Phase | 1 |  | 3 | Use: |  |  |  |
| Installation location |  |  | City |  |  | State | ZIP+4 |  |  | County |  |  |
|  | 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |

|  | ELECTRICAL PLAN REVIEW (When required by WAC 296-46-140, Plan review for educational, |  |  | Unit | Unit |  | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | institutional or health care facilities and other buildings. See WAC 296-150 C/F-3000 for fee schedule) |  |  |  |  | Amount |  | Amount |
|  | Electrical plan submission fee |  |  |  |  |  |  |  |  |  |  |
|  | Service/Feeder ampacity: Each design option is addtional.14 |  |  |  |  |  |  |  |  |
|  | 0-100 |  |  |  |  |  |  |  |  |  |  |
|  | 101 | - 200 |  |  |  |  |  |  |  |  |  |  |
|  | 201 | - 400 |  |  |  |  |  |  |  |  |  |  |
|  | 401 | - 600 |  |  |  |  |  |  |  |  |  |  |
|  | 601 | - 800 | f623-016-000 sample |  |  |  |  |  |  |  |  |  |
|  | 801 | - 1000 | see |  |  |  |  |  |  |  |  |  |
|  | Over 1000 |  |  |  |  |  |  |  |  |  |  |
|  | Over 600 volts surcharge | instructions |  |  |  |  |  |  |  |  |  |
|  |  |  | on reverse |  |  |  |  |  |  |  |
|  | Thermostats: | side |  |  |  |  |  |  |  |
|  | First |  |  |  |  |  |  |  |  |  |
|  | Each additional |  |  |  |  |  |  |  |  |  |  |

Low voltage fire alarm and burglar alarm:

Each control panel and up to four circuits or zones

Each additional circuit or zone

Generators, refer to appropriate service/feeder ampacity fees

Note: Altered services or feeders shall be charged to the fee schedule rate per the service/feeder ampacity fees

| Supplemental submission of plans (resubmittal, addendums, renewals, code upda tes, etc.) shall be |  |  |  |  |
| --- | --- | --- | --- | --- |
| charged per hour or fraction of an hour |  | On |  |  |  |  |
| Attached | Attached/Design |  |  |  | $ |  |
|  |  |  | Total Fees Paid |  |  |
| L&I Review | Professional Review | file |  |  |  |

14

- Electical floor plans, related drawings - minimum of two complete sets required. Number of sheets:

- One line/riser diagram:

    - Specifications:

    - Load calculations:

  - Fault calculations:

  - Metered demand records:

    - Panel schedules:

F623-017-000 sample elect plan approval request	8-98