| DESIGN BASE: SQUARE D OR APPROVED EQUAL |  |  |  |  | PANEL SCHEDULE |  |  |  | FULLY RATED AIC: MATCH EXISTING |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LOCATION: ELECTRIC SERVICE B003 |  |  |  |  |  |  |  |  | SERVICE: 208/120V, 3Ø, 4W |
| BUS RATING: 100 Amps |  |  |  |  |  |  |  |  |  |  |  |  | MOUNTING: SURFACE |
| MAIN: 100 Amp MLO |  |  |  |  | PANEL 'EP-1' |  | FED FROM: EXISTING |
| SERVICE ENTRANCE LABEL: NO |  |  |  |  |  | ENCLOSURE TYPE: NEMA 1 |
|  |  | LOAD |  |  | L1 (VA) |  |  | L2 (VA) |  | L3 (VA) |  | LOAD |
| CKT. |  | DESIGNATION | BREAKER |  |  |  |  |  |  |  | BREAKER | DESIGNATION |
| 1 |  | EXISTING LOAD | 20A/1P | - |  |  |  |  |  |  |  |  | 20A/1P | EXISTING LOAD |
|  |  |  |  |  |  | - |  |  |  |  |  |  |  |  |  |
| 3 |  | EXISTING LOAD | 20A/1P |  |  |  |  | - |  | - |  |  |  | 20A/1P | EXISTING LOAD |
| 5 |  | EXISTING LOAD | 20A/1P |  |  |  |  |  |  |  | - |  | - | 20A/1P | EXISTING LOAD |
| 7 |  | EXISTING LOAD | 20A/1P | - |  | - |  |  |  |  |  |  |  | 20A/1P | EXISTING LOAD |
| 9 |  | EXISTING LOAD | 20A/1P |  |  |  |  | - |  | - |  |  |  | 20A/1P | EXISTING LOAD |
| 11 |  | EXISTING LOAD | 20A/1P |  |  |  |  |  |  |  | - |  | - | 20A/1P | EXISTING LOAD |
| 13 |  | EXISTING LOAD | 20A/1P | - |  | - |  |  |  |  |  |  |  | 20A/1P | EXISTING LOAD |
| 15 |  | EXISTING LOAD | 20A/1P |  |  |  |  | - |  | - |  |  |  | 20A/1P | EXISTING LOAD |
| 17 |  | EXISTING LOAD | 20A/1P |  |  |  |  |  |  |  | - |  | - | 20A/1P | EXISTING LOAD |
| 19 |  | EXISTING LOAD | 20A/1P | - |  | - |  |  |  |  |  |  |  | 20A/1P | EXISTING LOAD |
| 21 |  | EXISTING LOAD | 20A/1P |  |  |  |  | - |  | - |  |  |  | 20A/1P | EXISTING LOAD |
| 23 |  | EXISTING LOAD | 20A/1P |  |  |  |  |  |  |  | - |  | - | 20A/1P | EXISTING LOAD |
| 25 |  | EXISTING LOAD | 20A/1P | - |  | - |  |  |  |  |  |  |  | 20A/1P | EXISTING LOAD |
| 27 |  | EXISTING LOAD | 20A/1P |  |  |  |  | - |  | - |  |  |  | 20A/1P | EXISTING LOAD |
| 29 |  | EXISTING LOAD | 20A/1P |  |  |  |  |  |  |  | - |  | - | 20A/1P | EXISTING LOAD |
|  |  | TOTAL CONNECTED VA/LEG |  |  | ### |  |  | ### |  | ### |  |  |
|  |  | TOTAL CONNECTED KVA |  |  |  |  |  |  | #### |  |  |  |  |  |
|  |  | TOTAL CONNECTED AMPS |  |  |  |  |  |  |  |  |  |  |  |  |  |

CKT.

2

4

6

8

10

12

14

16

18

20

22

24

26

28

30

| DESIGN BASE: SQUARE D OR APPROVED EQUAL | PANEL SCHEDULE | FULLY RATED AIC: MATCH EXISTING |
| --- | --- | --- |
| LOCATION: MECH ROOM 0111 GRISSOM |  | SERVICE: 208/120V, 3Ø, 4W |
| BUS RATING: 200 Amps |  | MOUNTING: SURFACE |
| MAIN: 200 Amp MLO | PANEL 'EDA' | FED FROM: EXISTING |
| SERVICE ENTRANCE LABEL: NO |  | ENCLOSURE TYPE: NEMA 1 |

|  | LOAD |  | L1 (VA) |  | L2 (VA) | L3 (VA) |  | LOAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CKT. | DESIGNATION | BREAKER |  |  |  |  | BREAKER | DESIGNATION |
| 1 | EXISTING LOAD | 20A/1P | - | - |  |  | 20A/1P | EXISTING LOAD |
| 3 | EXISTING LOAD | 20A/1P |  | - | - |  | 20A/1P | EXISTING LOAD |
| 5 | EXISTING LOAD | 20A/1P |  |  | - | - | - | SPACE |
| 7 | EXISTING LOAD | 20A/1P | - | - |  |  | 20A/1P | EXISTING LOAD |
| 9 |  |  |  | - | - |  |  |  |
| 11 | EXISTING LOAD | 30A/3P |  |  | - | - | 40A/3P | EXISTING LOAD |
| 13 |  |  | - | - |  |  |  |  |
| 15 |  |  |  | - | - |  |  |  |
| 17 | EXISTING LOAD | 50A/3P |  |  | - | - | 50A/3P | EXISTING LOAD |
| 19 |  |  | - | - |  |  |  |  |
| 21 |  |  |  | - | - |  |  |  |
| 23 | EXISTING LOAD | 70A/3P |  |  | - | - | 70A/3P | EXISTING LOAD |
| 25 |  |  | - | - |  |  |  |  |
|  | TOTAL CONNECTED VA/LEG |  | ### |  | ### | ### |  |  |
|  | TOTAL CONNECTED KVA |  |  |  | #### |  |  |  |
|  | TOTAL CONNECTED AMPS |  |  |  |  |  |  |  |

CKT.

2

4

6

8

10

12

14

16

18

20

22

24

26

| DESIGN BASE: SQUARE D OR APPROVED EQUAL | PANEL SCHEDULE | FULLY RATED AIC: MATCH EXISTING |
| --- | --- | --- |
| LOCATION: MECH ROOM 0129 EISENHOWER |  | SERVICE: 208/120V, 3Ø, 4W |
| BUS RATING: 200 Amps |  | MOUNTING: SURFACE |
| MAIN: 200 Amp MLO | PANEL 'EDB' | FED FROM: EXISTING |
| SERVICE ENTRANCE LABEL: NO |  | ENCLOSURE TYPE: NEMA 1 |

|  | LOAD |  |  | L1 (VA) | L2 (VA) | L3 (VA) |  | LOAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CKT. | DESIGNATION | BREAKER |  |  |  |  | BREAKER | DESIGNATION |
| 1 | EXISTING LOAD | 20A/1P | - | - |  |  | 20A/1P | EXISTING LOAD |
| 3 | EXISTING LOAD | 20A/1P |  | - | - |  | 20A/1P | EXISTING LOAD |
| 5 | EXISTING LOAD | 20A/1P |  |  | - | - | - | SPACE |
| 7 | EXISTING LOAD | 20A/1P | - | - |  |  | 20A/1P | EXISTING LOAD |
| 9 |  |  |  | - | - |  |  |  |
| 11 | EXISTING LOAD | 30A/3P |  |  | - | - | 60A/3P | EXISTING LOAD |
| 13 |  |  | - | - |  |  |  |  |
| 15 | EXISTING LOAD | 20A/1P |  | - | - |  | 20A/1P | EXISTING LOAD |
| 17 |  |  |  |  | - | - |  |  |
| 19 | EXISTING LOAD | 40A/3P | - | - |  |  | 50A/3P | EXISTING LOAD |
| 21 |  |  |  | - | - |  |  |  |
| 23 |  |  |  |  | - | - |  |  |
| 25 | EXISTING LOAD | 50A/3P | - | - |  |  | 50A/3P | EXISTING LOAD |
| 27 |  |  |  | - | - |  |  |  |
| 29 |  |  |  |  | - | - |  |  |
| 31 | EXISTING LOAD | 70A/1P | - | - |  |  | 70A/1P | EXISTING LOAD |
| 33 |  |  |  | - | - |  |  |  |
|  | TOTAL CONNECTED VA/LEG |  |  | ### | ### | ### |  |  |
|  | TOTAL CONNECTED KVA |  |  |  | #### |  |  |  |
|  | TOTAL CONNECTED AMPS |  |  |  |  |  |  |  |

CKT.

2

4

6

8

10

12

14

16

18

20

22

24

26

28

30

32

34