PANEL SCHEDULE LOAD CALCULATION

Date

| 120-240 | Single Phase |  | Connected load |  |  | Demand load |
| --- | --- | --- | --- | --- | --- | --- |
| 120-208 | Three Phase |  |  |  |  |  |  |
|  |  |  | Connected amps |  |  | Demand amps |
| 277-480 |  |  |  |  |  |  |  |
|  | Load |  | Connected Load |  | Demand Factor |  | Demand Load |
| Lighting |  |  |  |  | X 125% | = |
| Gen use receptacles <10 KVA |  |  |  | X100% | = |
| Gen use receptacles >10 KVA |  |  |  | X 50% | = |
| Motors & compressors |  |  |  | X100% | = |
| (Largest) |  | ( | ) |  | X 25% | = |
| Computer receptacles |  |  |  | X100% | = |
| Mechanical & HVAC |  |  |  | X100% | = |
| Kitchen equipment |  |  |  | X | % | = |
| Miscellaneous |  |  |  |  |  |  | = |
| Miscellaneous |  |  |  |  | X | % | = |

Manufacturer’s Serial Number:

Panel

Definitions

Connected Load

- The nameplate rating of all appliances that are fastened in place, permanently located to be connected on a specific circuit. (Water heaters, space heaters, ranges, refrigerators, etc.)

- 180 VA for each general use receptacle

- Maximum VA of lighting fixtures

- Full load amps/KVA of all motors from Table 430-247, 248, 249 and 250 of the National Electric Code

Demand calculated load

The connected load after any code required adjustment factor has been applied. Load calculations shall be submitted/express in KVA and converted to amps when sizing feeders and equipment.