2020-707

EXISTING ELECTRICAL PANEL SCHEDULE "P"

120/240 V, 1 PHASE, 3 WIRE, 100 AMPS

OFFICE ELECTRICAL PANEL SCHEDULE -100 AMP MAIN CIRCUIT BREAKER PANEL

| CKT | DESCRIPTION | POLE | VOLTS | AMP | AMP | VOLTS | POLE | DESCRIPTION | CKT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | LIGHTS | 1 | 120 | 20 | 20 | 120 | 1 | RECEPTACLES | 2 |
| 3 | LIGHTS | 1 | 120 | 20 | 20 | 120 | 1 | RECEPTACLES | 4 |
| 5 | LIGHTS | 1 | 120 | 20 | 20 | 120 | 1 | RECEPTACLES | 6 |
| 7 | LIGHTS | 1 | 120 | 20 | 20 | 120 | 1 | RECEPTACLES | 8 |
| 9 | LIGHTS | 1 | 120 | 20 | 20 | 120 | 1 | RECEPTACLES | 10 |
| 11 |  | 1 | 120 | 20 | 20 | 120 | 1 | BATH GFI, LIGHT, EXH FAN | 12 |
| 13 |  | 1 | 120 | 20 | 20 | 120 | 1 | BATH GFI, LIGHT, EXH FAN | 14 |
| 15 | SMOKE DETECTORS | 1 | 120 | 20 | 30 | 240 | 2 |  | 16 |
| 17 | EXIT/EMERGENCY LIGHTS | 1 | 120 | 20 | 30 | 240 | 2 | WATER HEATER | 18 |
| 19 | HEAT PUMP 1 | 2 | 240 | 60 | 20 | 240 | 2 | WATER HEATER | 20 |
| 21 | HEAT PUMP 1 | 2 | 240 | 20 | 30 | 240 | 2 | CONDENSING UNIT 1 | 22 |
| 23 |  | 1 | 120 | 20 | 30 | 240 | 2 | CONDENSING UNIT 1 | 24 |
| 25 | HEAT PUMP 2 | 2 | 240 | 20 | 20 | 120 | 1 |  | 26 |
| 27 | HEAT PUMP 2 | 2 | 240 | 20 | 20 | 240 | 2 | CONDENSING UNIT 2 | 28 |
| 29 |  | 1 | 120 | 20 | 20 | 240 | 2 | CONDENSING UNIT 2 | 30 |

2020-707 PAGE: 1 of 12.

1/ ELECTRICAL PANEL

NOTES:

ELECTRICAL PANEL

4113 FREDERICK AVE, BALTIMORE MD

SCALE: NTS

E0-02

|  |  |  |  |  |  |  |  |  |  |  |  |  |  | HEAT PUMP SCHEDULE | COOLING | HEATING | ELEC |  | BACKUP HEAT | NOTES: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | HP-1 |  |  | 12 KW | 50 KW |  | 10 KW |  |
|  |  |  |  |  |  |  |  |  | 2" PVC INTAKE & |  |  |  | HP-2 |  |  | 12 KW | 50 KW |  | 10 KW |  |
|  |  |  |  |  |  |  |  |  | COMBUSTION |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | CU-1 | CU-2 |  |  |  |  | CU-1 |  | 2 1/2 TON |  | 30 KW |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | CU-2 |  | 2 1/2 TON |  | 30 KW |  |  |  |
|  |  |  |  |  |  |  |  |  | 1" CONDENSATE |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | DRAIN TO | DN |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | EXTERIOR |  | ELEC |  | UNDERCUT DOORS FOR RETURN AIR 1/2" |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | PANEL |  |  |  |  |  |  |  |
|  | 2020-707 |  |  | 2 1/2 TON |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | CONDENSOR |  | HP ABOVE. 7.5 KW - |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 2 1/2 TON 90+ UNIT W/ 2" |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | PVC TO EXTERIOR |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | WH | F | RS&RL |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | T |  | 600 CFM |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | RTN |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 12 x 12 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | FA |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | LOUVE |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | R |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 300 CFM |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 200 | 12 x 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 12 x 8 | 200 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 200 |  | 12 x 8 | MEN'S | 65 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | CFM |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 4" |  |  |  | RESTROOM |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | EXHAUST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | VENT |  |  |  | 75 CFM |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 4" |  |  |  | EF |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | EXHAUST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | VENT |  |  |  | 75 CFM |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | EF |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | WOMEN'S | 65 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | RESTROOM | CFM |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | DN |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 200 |  | 12 x 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 16 x 10 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | OFFICE | 12 x 8 | 200 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 200 |  | 12 x 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | CFM |  |  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 16 x |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 65 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 4" |  |  |  | RESTROOM |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | EXHAUST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | HVAC PLANS |
|  |  |  |  |  | VENT |  |  |  | 75 CFM |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | OFFICE |  | EF | OFFICE |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 200 |  |  | 10 | 12 x 8 | 200 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | CFM |  |  | x |  | CFM |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 16 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 12 x 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 200 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | HALL |  |  | HALL |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | OFFICE |  | 16 x 10 | 12 x 8 OFFICE |  |  |  |  |  |  |  |  |  | 4113 FREDERICK AVE, |
|  |  |  |  |  |  | 200 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | CFM |  | 12 x 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | 200 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |  |  |  | BALTIMORE MD |
|  |  |  |  |  |  |  |  |  |  | 12 x 8 |  |  |  |  |  |  |  |  |  |  |  |
| 4" |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 200 |  |  |  |
| EXHAUST | 200 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CFM |  |  |  |
| VENT |  |  |  |  |  | UP |  |  |  |  |  |  |  |  | UP |  |  |  |  |  |  |
|  | CFM | 12 x 8 | 200 | 200 |  |  |  |  |  |  | 200 |  |  |  |  |  |  |  |  |  |  |
|  |  |  | CFM | CFM |  |  |  |  |  |  | CFM |  |  |  |  |  | 12 x 8 |  |  |  |  |
|  |  | OFFICE |  |  |  |  |  | 16 x 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | DUCT UP |  |  |  |  |  |  |  |  |  |  |  | 12 x 12 |  |
|  | 16 x 10 |  | OFFICE | OFFICE |  |  |  |  |  |  |  |  |  |  |  |  | BASEMENT |  |  | RTN |  |
|  | DUCT |  | x 10 | RS & |  |  |  |  |  |  | 12 x 12 | 1500 |  |  | 400 CFM |  |  |  |  |  |  |
|  | DN |  |  |  |  |  |  |  |  |  | DN |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | RL |  |  | T |  | LOBBY |  | CFM |  |  | RTN |  |  |  |  |  |  |
|  |  |  | 16 |  |  |  |  |  |  |  | RTN |  |  |  | 16 x 10 |  |  |  |  | SCALE: 1/16^ = 1\-0^ |
| 75 CFM |  |  |  |  |  |  | 16 x 10 |  |  |  |  |  |  | 16 x 10 |  | 3/4" CONDENSATE |  |  |  |
| EF |  |  |  |  |  | 2000 CFM | DUCT DN |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | DUCT UP |  | DRAIN TO EXTERIOR |  |  |  |
|  |  |  |  | ROOFTOP |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 12 x 12 |  |
|  |  |  |  |  |  | RTN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RESTROOM |  |  | CU |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | RTN |  |
| DN |  |  |  |  |  | DN |  | 12 x 8 |  |  |  |  |  |  | 12 x 8 | HP ABOVE. 7.5 KW - |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 1/2 TON 90+ UNIT W/ |  |  |  |
|  |  | 12 x 8 | HALL |  |  |  | 200 |  |  |  |  |  |  |  | 200 |  | 2" PVC TO EXTERIOR | F | RS&RL |  |
|  | 200 |  |  |  |  |  | CFM |  |  |  |  |  |  |  | CFM |  |  |  |  |  |  |
|  | CFM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3/ LEVEL 2 PLAN | 2020-707 PAGE: 2 of 12. |  |  | 1 / BASEMENT PLAN | M0-01 |
|  |  |  |  |  |  |  |  |  |  | 2/ LEVEL 1 PLAN |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | NOTES: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2020-707 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ROOF |  |  |  | 3/4" |  | 3/4" |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1/2" |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | CW |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1/2" |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | HW |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1/2" |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | P-2 | CW |  |  |  |  |  |  |  |  |  |  |  |
|  | 1" |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | CW |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | P-1 |  |  |  |  |  |  |  |  |  |  |
| LEVEL 2 |  |  | 1" |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 3/4" |  |  |  |  |  |  |  | TEMPERATUR |  | PLUMBING |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | E MIXING | EXPANSION |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | VALVE | TANK | RISER |
|  |  | 1/2" | 1/2" | 1/2" |  | 1/2" | 1/2" | 1/2" |  |  | 1/2" | 1/2" | 1/2" | 1/2" |  |  |  |
|  |  |  | CW |  |  | CW |  | CW |  |  |  | CW |  | CW |  |  |  |
|  |  | HW |  | HW |  |  | HW |  |  |  | HW |  | HW |  |  |  |  |
|  |  |  | P-2 |  |  | P-2 |  | P-2 |  |  |  | P-2 |  | P-2 |  |  |  |
|  |  | 1/2" |  |  |  |  |  | 1/2" | 1/2" | 1/2" | 1/2" |  |  |  | 30 GALLON |  |  |
| 2" SHUT-OFF | CW |  |  |  |  |  | CW | CW | CW | CW |  |  |  | ELECTRIC |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | WATER |  |  |
|  | VALVE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BACK WATER |  |  |  |  |  |  |  |  |  |  |  |  |  | METAL DRAIN | HEATER |  |  |
| VALVE |  |  |  |  |  |  |  |  |  |  |  |  |  | PAN |  |  | 4113 FREDERICK AVE, |
|  |  | P-1 |  |  |  |  |  | P-1 | P-1 | P-1 | P-1 |  |  |  |  |  |  |
| LEVEL 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| INCOMING 1" |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | BALTIMORE MD |
| WATER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | SCALE: NTS |
| BASEMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 2020-707 PAGE: 3 of 12. | 1/WATER RISER | P0-03 |

2020-707

| 3' - 3 1/8" | 11' - 6" | 11' - 6" |  | 12' - 2 5/8" |  |
| --- | --- | --- | --- | --- | --- |
|  | OFFICE | OFFICE | 1/2" | 1/2" | OFFICE |  |
| 5' - 10 1/2" 5' - 3" |  | -10 | -10 |  | 1/2" |
|  |  |  |  | 15' | 15' |  | 10 |
|  |  | 1/2" |  |  |  |  | 19' - |
| RESTROOM | - 4 |  |  |  |  |  |
|  | 5' |  |  |  |  |  |
| DN |  |  |  |  | - 0" |  |  |
|  |  |  | HALL |  |  |  |  |
|  |  |  |  |  | 4' |  |  |
|  |  |  | 40' - 0" |  |  |  |  |

3/ LEVEL 2 PLAN

DN

ELEC

PANEL

| WH | F |
| --- | --- |

33' - 7 1/2"

| 19' - 2 5/8" | 9' - 1 5/8" | 10' - 1 1/2" |
| --- | --- | --- |
| 6" | MEN'S |  |
| - | RESTROOM |  |
| 8' |  |  |
|  | WOMEN'S |  |
|  | RESTROOM |  |
|  | DN |  |

| 1/8" | W01 |  |  | W01 |
| --- | --- | --- | --- | --- |
| 45' - 6 |  |  |  |  |
|  |  | OFFICE |  |  |
|  | W01 |  |  | W01 |
|  | 12' - 4 1/2" | 5' - 4 1/2" 5' - 6 3/4" | 10' - 2" | 5'-0" |
|  |  | RESTROOM |  |  |
| 13'-11" | OFFICE |  | OFFICE |  |
|  | W01 |  |  | W01 |

| 3 3/4" | HALL | HALL |
| --- | --- | --- |
|  | OFFICE | OFFICE |
| 17' - | W01 | W01 |
|  | UP | UP |
| 1 5/8" | LOBBY | - 4 1/2" |
| 21' - |  | 20' |
|  | DN |  |
|  | 33' - 5 3/4" | 5'-0" |

2020-707 PAGE:39'-51/8"       4 of 12.

2/ LEVEL 1 PLAN

| BASEMENT | 0" |
| --- | --- |
|  | 20' - |

WH

F

40' - 0"

1/ BASEMENT PLAN

NOTES:

1. ALL WALL FRAMING IS EXISTING. REPLACE DRYWALL, DOORS, AND FLOORING

- NEW WINDOWS. WINDOWS ON FRONT OF BUILDING ARE EXISTING TO REMAIN

FLOOR PLANS

4113 FREDERICK AVE,

BALTIMORE MD

SCALE: 1/16^ = 1\-0^

A0-01

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | NOTES: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  | DN |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ELEC |  |  |  |
|  | 2020-707 |  |  |  |  |  |  |  |  |  | PANEL |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | WH | F |  |  |
|  |  |  |  |  |  |  |  | 33' - 7 1/2" |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 19' - 2 5/8" |  | 9' - 1 5/8" |  | 10' - 1 1/2" |  |  |
|  |  |  |  |  |  |  |  | 6" |  |  | MEN'S |  |  |  |  |  |
|  |  |  |  |  |  |  |  | - |  |  | RESTROOM |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 8' |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | WOMEN'S |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | RESTROOM |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | DN |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 45' - 6 1/8" |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | - 0" |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 140' |  | OFFICE |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 12' - 4 1/2" | 5' - 4 1/2" | 5' - 6 3/4" | 10' - 2" |  | 5'-0" |  |  |
|  |  |  |  |  |  |  |  |  |  |  | RESTROOM |  |  |  |  |  |
|  |  |  |  |  |  |  |  | - 11" | OFFICE |  | OFFICE |  |  |  | FLOOR PLANS |
|  |  |  |  |  |  |  |  | 13' |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 3 3/4" |  | HALL |  |  |  | HALL |  |  |
|  |  |  |  |  |  |  |  |  | OFFICE |  | OFFICE |  |  |  |  |
|  |  |  |  |  |  |  |  | 17' - |  |  |  |  |  |  |  | 4113 FREDERICK AVE, |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | BALTIMORE MD |
| 3' - 3 1/8" | 11' - 6" | 11' - 6" |  | 12' - 2 5/8" |  |  | UP |  |  |  |  | UP |  |  |
|  | OFFICE | OFFICE | 15' - 10 1/2" | 15' - 10 1/2" | OFFICE |  |  |  |  | 20' - 4 1/2" |  |  |  |  |  |
| 5' - 10 1/2" | 5'-3" |  |  |  |  | 19' - 10 1/2" | 21' - 1 5/8" |  |  |  |  |  |  | BASEMENT |  |
|  |  |  |  |  |  |  |  |  |  | LOBBY |  |  |  |  | 20' -0" |  |
| RESTROOM | - 4 1/2" |  |  |  |  |  |  |  |  |  |  |  |  |  | SCALE: 1/16^ = 1\-0^ |
|  |  | 5' |  |  |  |  |  |  | DN |  |  |  |  |  | WH |  |
| DN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | - 0" |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | HALL |  |  |  |  |  |  |  |  |  |  |  | F |  |
|  |  |  |  |  | 4' |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 40' - 0" |  |
|  |  |  | 40' - 0" |  |  |  |  |  |  | 33' - 5 3/4" |  |  | 5'-0" |  |  |
|  |  |  |  |  |  |  |  |  |  | 39' - 5 1/8" |  |  |  |  |  |
|  |  |  |  | 3/ LEVEL 2 PLAN | 2020-707 PAGE: 5 of 12. | 1 / BASEMENT PLAN | A0-01 |
|  |  |  |  |  |  |  |  | 2/ LEVEL 1 PLAN |  |  |

2020-707

2020-707 PAGE: 6 of 12.

COVER SHEET FOR 4113 FREDERICK AVE, BALTIMORE MD

P. G0-01 - COVER PAGE & CODE ANALYSIS P. CD-01 - LIFE SAFETY PLANS

2020-707

P. A0-01	- FLOOR PLANS

P. A0-02  -  FRAMING PLANS

P. M0-01  - HVAC PLANS

P. E0-01	- ELECTRICAL PLANS

P. E0-02	- ELECTRICAL PANEL

P. P0-01	- PLUMBING PLANS

P. P0-02	- PLUMBING RISER

P. P0-03	- PLUMBING RISER

CODE ANALYSIS:

CONSTRUCTION TYPE: TYPE IIIB

- STORY BUILDING SQ FT: 10,000 OCCUPANCY LOAD: 100

SPRINKLER SYSTEM: NO

USE GROUP: OFFICE

ZONING DISTRICT: C-1

CODE ANALYSIS:

BUILDING CODE DATA

PROJECT NAME:

4113 FREDERICK AVE,

BALTIMORE, MD

ALL WORK SHALL COMPLY WITH STATE AND LOCAL CODES AND ORDINANCES INCLUDING LATEST EDITION IN FORCE OF

THE FOLLOWING CODES:

LATEST BUILDING CODE COMPLIANCE INTERNATIONAL BUILDING CODE USE AND OCCUPANCY (IBC Section 303):

Type of Construction (IBC Table 601 and Table 602) IIIB

Fire Resistance Rating (IBC Table 601 IEBC 703.3.2)

- 5000 SQ FT Sprinkler - NO Means of Egress (IBC Chapter 10) Accessibility (State Code)

BCGBS ( BCBFRC 2015 Chapter 37): 11. Insulation (IECC 2015 Table 502.1.1 Required Egress Width ( IBC 1005.1 & 1008 1.1)

Applicable Codes:

International Building Code 2015

International Mechanical Code 2015

International Plumbing Code 2015

National Electrical Code 2014

International Fuel Gas Code 2015

International Fire Code 2015

International Green Construction Code 2012

International Energy Conservation Code 2015

Maryland Building Performance Standards - January 2015

International Residential Code 2015

ADA Standards for Accessible Design 2010

2020-707 PAGE: 7 of 12.

NOTES:

COVER PAGE

& CODE ANALYSIS

4113 FREDERICK AVE,

BALTIMORE MD

SCALE: NTS

G0-01

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | NOTES: all wall |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | framing is |
|  |  |  |  |  |  |  |  |  |  |  | DN |  |  |  | existing. We |
|  |  |  |  |  |  |  |  |  |  |  |  | ELEC |  |  | are just |
|  | 2020-707 |  |  |  |  |  |  |  |  | PANEL |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | replacing |
|  |  |  |  |  |  |  |  |  |  |  |  | WH | F |  |  |
|  |  |  |  |  |  |  |  | 33' - 7 1/2" |  |  |  |  |  |  | drywall, doors, |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | and flooring. |
|  |  |  |  |  |  |  |  |  | 19' - 2 5/8" |  | 9' - 1 5/8" | 10' - 1 1/2" |  |  |
|  |  |  |  |  |  |  |  | 6" |  |  | MEN'S |  |  |  |  |
|  |  |  |  |  |  |  |  | - |  |  | RESTROOM |  |  |  |  |
|  |  |  |  |  |  |  |  | 8' |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | WOMEN'S |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | RESTROOM |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | DN |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 45' - 6 1/8" |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | - 0" |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 140' |  | OFFICE |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 12' - 4 1/2" | 5' - 4 1/2" | 5' - 6 3/4" | 10' - 2" | 5'-0" |  |  |
|  |  |  |  |  |  |  |  |  |  |  | RESTROOM |  |  |  |  |
|  |  |  |  |  |  |  |  | - 11" | OFFICE |  | OFFICE |  |  | FLOOR PLANS |
|  |  |  |  |  |  |  |  | 13' |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 3 3/4" |  | HALL |  |  | HALL |  |  |
|  |  |  |  |  |  |  |  |  | OFFICE |  | OFFICE |  |  |  |
|  |  |  |  |  |  |  |  | 17' - |  |  |  |  |  |  | 4113 FREDERICK AVE, |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | BALTIMORE MD |
| 3' - 3 1/8" | 11' - 6" | 11' - 6" |  | 12' - 2 5/8" |  |  | UP |  |  |  | UP |  |  |
|  | OFFICE | OFFICE | 15' - 10 1/2" | 15' - 10 1/2" | OFFICE |  |  |  |  | 20' - 4 1/2" |  |  |  |  |
| 5' - 10 1/2" | 5'-3" |  |  |  |  | 19' - 10 1/2" | 21' - 1 5/8" |  |  |  |  |  | BASEMENT |  |
|  |  |  |  |  |  |  |  |  |  | LOBBY |  |  |  | 20' -0" |  |
| RESTROOM | - 4 1/2" |  |  |  |  |  |  |  |  |  |  |  |  | SCALE: 1/16^ = 1\-0^ |
|  |  | 5' |  |  |  |  |  |  | DN |  |  |  |  | WH |  |
| DN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | - 0" |  |  |  |  |  |  |  |  |  |  |
|  |  |  | HALL |  |  |  |  |  |  |  |  |  |  | F |  |
|  |  |  |  |  | 4' |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 40' - 0" |  |
|  |  |  | 40' - 0" |  |  |  |  |  |  | 33' - 5 3/4" |  | 5'-0" |  |  |
|  |  |  |  |  |  |  |  |  |  | 39' - 5 1/8" |  |  |  |  |
|  |  |  |  | 3/ LEVEL 2 PLAN | 2020-707 PAGE: 8 of 12. | 1 / BASEMENT PLAN | A0-01 |
|  |  |  |  |  |  |  |  | 2/ LEVEL 1 PLAN |  |  |

IBC 2015 EGRESS REQUIREMENTS:

OCCUPANT LOAD FACTOR (IBC 2015 1004.1.2):

BUSINESS - 100

MAX TRAVEL DISTANCE (2015 IBC 1017.2):

200' - 0"

2020-707

TABLE 1006.3.1 - MINIMUM NUMBER OF EXITS OR ACCESS TO EXITS PER STORY - 2 EXITS M - MAX OCC LOAD 49, MAX COMMON PATH OF TRAVEL (<30) 75

B - MAX OCC LOAD 49, MAX COMMON PATH OF TRAVEL (<30) 100

1010.1.2.1 - DIRECTION OF SWING

PIVOT DOORS WITH AN OCCUPANT LOAD OF 50 OR MORE MUST SWING

IN THE DIRECTION OF EGRESS TRAVEL

NFPA 2015

38.2.4.1 - NOT LESS THAN TWO SEPERATE EXITS SHALL BE PROVIDED ON EVERY FLOOR

38.2.4.3 - ONE EXIT IN BASEMENT IS COMPLIANT

7.2.8.1.2.1 - FIRE ESCAPE PERMITTED AS SECOND MEANS OF EGRESS

7.2.8.2.2 - PROTECTION OF OPENINGS - BUILDING TO BE SPRINKLERED, NO PROTECTED OPENINGS AT FIRE ESCAPE PROVIDED

| OFFICE | OFFICE | OFFICE |
| --- | --- | --- |

RESTROOM

DN

54' - 0	HALL

DN

ELEC

PANEL

| WH | F |
| --- | --- |

|  | 43' - 0" |
| --- | --- |
|  | 122' - 0" |
| 55' - 0" | MEN'S |

RESTROOM

WOMEN'S

RESTROOM

DN

66' - 4"

91' - 0"

EXISTING 2 HR

CMU WALL

OFFICE

RESTROOM

| OFFICE | OFFICE |
| --- | --- |

| HALL | HALL |
| --- | --- |
| OFFICE | OFFICE |

UP  36' - 0"

LOBBY

22' - 0"

DN

UP

50' - 0"

BASEMENT

WH

F

NOTES:

LIFE SAFETY PLANS

4113 FREDERICK AVE, BALTIMORE MD

SCALE: 1/16^ = 1\-0^

3/ LEVEL 2 PLAN

2020-707 PAGE: 9 of 12.

2/ LEVEL 1 PLAN

1 / BASEMENT PLAN

CD-01

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | NOTES: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | P-22, 24 J | J | P-28, 30 |  |  |  |  |  |  |  |
|  |  |  |  |  |  | P-2 |  | S | P-2 |  | EXIT |  |  |  |  |  |
|  |  |  |  |  |  | EXIT |  |  |  | DN |  |  |  |  |  |  |  |
|  |  |  |  |  | P-2 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | ELEC |  |  | EXISTING |  |  |  |
| 2020-707 |  |  |  |  |  |  |  |  | PANEL |  |  |  |  |  |  |
|  |  |  | P-17 |  |  |  |  |  |  |  | 30A, 2 POLE |  |  |  |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | CUT WATER |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | CO2 |  | P-25, | HEATER |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | P-18,WH | F |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | P-27 |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | P-20 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 15A CUT |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | HEAT |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | PUMP |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | P-2 |  |  |  |  |
|  |  |  |  |  | P-2 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | P-2 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | P-8 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | S |  |  | EXIT |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | J |  | P-12 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | MEN'S |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | RESTROOM |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | P-14 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | J |  | P-17 |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | WOMEN'S |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | RESTROOM |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | P-2 |  |  |  |  |
|  |  |  |  |  | P-2 |  |  |  |  |  | EXIT |  |  |  |  |  |  |
|  |  |  |  |  |  | P-6 | DN |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | EXIT |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | P-1 |  |  |  |  |
|  |  |  |  |  | P-2 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | S |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | P-15 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | P-2 |  |  |  |  |  |  |
|  |  |  |  |  |  |  | OFFICE |  |  |  |  | P-2 |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | P-5 |  |  |  |  |  |  |
|  |  |  |  |  | P-2 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | P-2 |  |  |  |  |
|  |  |  |  |  | P-2 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | P-2 | P-5 |  |  | P-2 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | GFI |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | RESTROOM |  |  |  |  |  |  |  |
|  |  |  |  |  | P-2 |  | S |  |  |  | P-4 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ELECTRICAL PLANS |
|  |  |  |  |  |  |  | P-2 |  | J |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | OFFICE |  |  |  | OFFICE |  |  |  |  |  |  |
|  |  |  |  |  |  | P-3 | P-2 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | P-3 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | P-2 | P-2 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | P-3 | P-3 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | P-2 |  |  |  |  |
|  |  |  |  |  |  |  | HALL | P-4 |  |  | HALL |  |  |  |  |
|  |  |  |  |  |  | OFFICE |  |  |  | OFFICE |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | P-4 |  |  |  |  |  | 4113 FREDERICK AVE, |
|  |  |  |  |  | P-2 |  | P-2 |  |  |  |  |  |  |  |  |  | BALTIMORE MD |
|  |  |  |  |  |  | P-2 | EXIT |  |  |  |  |  | P-2 |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | EXIT |  |  |  |
| P-10 |  |  |  |  |  | P-4 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | P-17 |  |  |  |
|  |  |  |  |  | UP |  |  |  |  | S |  |  |  | UP | S |  |  |
|  |  |  |  | P-10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | P-10 |  |
|  |  |  | P-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OFFICE |  | OFFICE |  | OFFICE |  |  |  |  |  |  |  |  |  | P-1 |  |  |  |
|  |  |  |  |  |  |  |  | P-1 |  |  |  |  | P-17 |  |  | P-17 |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | BASEMENT |  |  |  |
| P-10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | P-10 |  |  |  |
|  |  |  |  |  |  | P-4 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | LOBBY |  |  |  |  |  |  |  |  |  |  |
| GFI |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | P-10 | SCALE: 1/16^ = 1\-0^ |
| J | P-9 | P-9 | P-9 | P-10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RESTROOM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | P-19, P-21 |  |
| DN |  |  | P-10 |  | DN |  |  |  |  |  |  |  | P-1 |  |  |  |  |
| EXIT |  |  |  |  |  |  | P-17 |  |  |  |  |  |  | P-10 | J | F |  |
|  | HALL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | S |  |  |  |  |  |  |  | EXIT | P-4 |  |  |  | P-2 |  |  |
|  | P-10 |  | P-10 |  |  |  |  |  |  |  |  | EXIT |  |  |  |  |  |
|  |  |  | 3/ LEVEL 2 PLAN | 2020-707 PAGE: 10 of 12. | 1 / BASEMENT PLAN | E0-01 |
|  |  |  |  |  |  |  |  |  | 2/ LEVEL 1 PLAN |  |  |  |

|  |  |  |  |  |  |  |  |  |  |  | PLUMBING FIXTURE SCHEDULE |  |  |  | NOTES: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  | P-1 WATER CLOSET | 3" SAN | 2" VENT | 1/2" CW |  |  |
|  |  |  |  |  |  |  |  | CONNECT |  |  | P-2 SINK | 2" SAN | 1 1/2" VENT | 1/2" CW | 1/2" HW |  |
|  |  |  |  |  |  |  |  | TO EXISTING |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 4" SAN |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | DN |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 3" |  |  |  |  |  |  |  |  |  |
|  | 2020-707 |  |  |  | BACKWATER | S |  | ELEC |  |  |  |  |  |  |
|  |  |  |  |  | VALVE |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 50 GALLON | PANEL | WATER HEATER 50 GALLON, ELECTRIC WH, 30A, 2 - POLE. | QTY-1 |  |  |
|  |  |  |  |  |  | ELECTRIC |  |  |  |  |  |
|  |  |  |  |  |  |  |  | WATER |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | HEATER |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | WH | F |  |  |  |  |  |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1/2" CW |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | P-2 | S |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | P-2 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | MEN'S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | RESTROOM |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | P-1 | P-1 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 2" VTR | P-1P-1 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1/2" HW |  |  |  |  |  |
|  |  |  |  |  |  |  | 3" SAN | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | WOMEN'S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | RESTROOM |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | P-2 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | P-2 | S |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | DN |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | OFFICE |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | P-2 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | RESTROOM |  |  |  |  |  |  |  | PLUMBING PLANS |
|  |  |  |  |  |  | OFFICE |  | P-1 | OFFICE |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 3" VTR |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 3" SAN | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | HALL |  |  |  | HALL |  |  |  |  |  |
|  |  |  |  |  |  | OFFICE |  |  | OFFICE |  |  |  |  |  |  | 4113 FREDERICK AVE, |
|  |  |  |  |  |  |  |  | S |  |  |  |  |  |  |  | BALTIMORE MD |
|  |  |  |  |  | 3" SAN | UP |  |  |  |  | UP |  |  |  |  |  |
|  |  |  |  |  | UP |  |  |  |  |  |  |  |  |  |  |  |
|  |  | OFFICE | OFFICE | OFFICE |  |  |  | S |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 3/4" |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | HW UP | S | S LOBBY |  |  |  |  |  | BASEMENT |  |  |  |
|  |  |  |  |  | & DN |  |  |  |  |  |  |  |  |  |  |  |
| 3/4" |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HW UP |  | S |  |  |  |  |  |  |  |  |  |  |  |  |  | SCALE: 1/16^ = 1\-0^ |
|  |  |  |  |  | 3/4" |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 3" VTR |  |  |  |  |  |  |  | INCOMING |  |  |  |  |  |
| 3/4" | P-2 |  |  |  | CW UP |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | 1" CW |  |  |  |  |  |
|  |  | P-1 |  |  | & DN |  |  |  |  |  |  |  |  |  |  |  |
| CW UP |  |  | 3" SAN |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | RESTROOM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | DN |  |  |  |  | DN |  |  |  |  |  |  |  |  |  |  |
|  |  |  | HALL |  |  |  |  |  |  |  |  |  |  |  | F |  |
|  |  |  |  | 3/ LEVEL 2 PLAN | 2020-707 PAGE: 11 of 12. |  | 1/ BASEMENT PLAN | P0-01 |
|  |  |  |  |  |  |  |  |  | 2/ LEVEL 1 PLAN |  |  |  |

|  |  |  |  |  |  |  |  |  |  |  | NOTES: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2020-707 |  |  |  |  |  |  |  |  |  |  |
|  |  | 3" VTR |  |  |  |  |  |  |  |  |  |
| ROOF |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 1/4" | 1 1/2" |  |  |  |  |  |  |  |  |  |
|  | P-2 |  |  |  |  |  |  |  |  |  |  |
|  |  | P-1 |  |  |  |  |  |  |  |  |  |
| LEVEL 2 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 3" |  |
|  |  |  |  |  |  |  |  |  |  | SAN |  |
|  |  |  |  |  | 1 1/2" |  |  |  |  |  |  |
|  | 1 1/2" | 1 1/4" | 1 1/4" |  |  | 1 1/2" | 1 1/2" | 1 1/2" | 1 1/4" | 1 1/4" |  |
|  | P-2 | P-2 | P-2 | 1 1/4" |  |  |  |  | P-2 | P-2 |  |
|  |  |  |  |  |  |  |  |  |  | 3" |  |
|  |  |  |  |  |  |  |  |  |  | SAN | PLUMBING |
| LEVEL 1 | P-1 |  |  |  | P-1 | P-1 | P-1 | P-1 |  |  | RISER |
|  | 3" | 1 1/2" | 1 1/2" | 1 1/2" | 3" | 3" | 3" | 3" | 1 1/2" | 1 1/2" |  |
|  |  |  |  |  |  |  |  |  |  | 3" |  |
|  |  |  |  |  |  |  |  |  |  | SAN | 4113 FREDERICK AVE, |
|  |  |  |  |  |  |  |  |  |  |  | BALTIMORE MD |
|  |  |  |  |  |  |  |  |  |  |  | SCALE: NTS |
| BASEMENT |  |  |  |  |  |  |  |  | CTE 3" |  |
|  |  |  |  |  |  |  |  |  | SAN |  |
|  |  |  |  | 2020-707 PAGE: 12 of 12. | 1/ SANITARY & VENT RISER | P0-02 |