City of Boynton Beach

Building Division

ELECTRIC SERVICE CHANGE DIAGRAM

Residential Only

All work shall comply with the current adopted edition of the National Electrical Code (NEC)

3301 Quantum Blvd, Suite 101, Boynton Beach FL 33426 (561-742-6350)

| S:\Development\BUILDING\Forms-Templates-Signs\Electric Service Change-Residential only-diagram.doc | 02/08, 02/09, |
| --- | --- |
| 05/09 | 1 of 4 |

2 of 4

|  |  |  | AMP CIRCUIT BREAKER PANEL SCHEDULE |  | PANEL # |
| --- | --- | --- | --- | --- | --- |
|  | CIRCUIT | C.B.SIZE | CIRCUIT | LOAD(WATTS) | WIRESIZE |  |  |  | CIRCUIT | C.B.SIZE | CIRCUIT |  | LOAD(WATTS) | WIRESIZE |  |
|  |  |  | DESCRIPTION |  |  |  |  |  |  |  | DESCRIPTION |  |  |  |  |
|  | 1 |  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  | 4 |  |  |  |  |  |  |
|  | 5 |  |  |  |  |  |  |  | 6 |  |  |  |  |  |  |
|  | 7 |  |  |  |  |  |  |  | 8 |  |  |  |  |  |  |
|  | 9 |  |  |  |  |  |  |  | 10 |  |  |  |  |  |  |
|  | 11 |  |  |  |  |  |  |  | 12 |  |  |  |  |  |  |
|  | 13 |  |  |  |  |  |  |  | 14 |  |  |  |  |  |  |
|  | 15 |  |  |  |  |  |  |  | 16 |  |  |  |  |  |  |
|  | 17 |  |  |  |  |  |  |  | 18 |  |  |  |  |  |  |
|  | 19 |  |  |  |  |  |  |  | 20 |  |  |  |  |  |  |
|  | 21 |  |  |  |  |  |  |  | 22 |  |  |  |  |  |  |
|  | 23 |  |  |  |  |  |  |  | 24 |  |  |  |  |  |  |
|  | 25 |  |  |  |  |  |  |  | 26 |  |  |  |  |  |  |
|  | 27 |  |  |  |  |  |  |  | 28 |  |  |  |  |  |  |
|  | 29 |  |  |  |  |  |  |  | 30 |  |  |  |  |  |  |
|  | 31 |  |  |  |  |  |  |  | 32 |  |  |  |  |  |  |
|  | 33 |  |  |  |  |  |  |  | 34 |  |  |  |  |  |  |
|  | 35 |  |  |  |  |  |  |  | 36 |  |  |  |  |  |  |
|  | 37 |  |  |  |  |  |  |  | 38 |  |  |  |  |  |  |
|  | 39 |  |  |  |  |  |  |  | 40 |  |  |  |  |  |  |
|  | 41 |  |  |  |  |  |  |  | 42 |  |  |  |  |  |  |
|  | TOTAL ESTIMATED LOAD |  |  |  | WATTS (LESS HVAC LOAD) |  |  |  |  |
|  | FIRST 10,000 WATTS AT 100% |  |  |  | WATTS |  |  |  |  |
|  | REMAINING WATTS AT 40% |  |  |  | WATTS |  |  |  |  |
|  | HVAC (ESTIMATED) AT 100% |  |  |  | WATTS |  |  |  |  |
|  | TOTAL ESIMATED DEMAND |  |  |  | WATTS ÷ 240 VOLTS = | AMPS |  |  |
| S:\Development\BUILDING\Forms-Templates-Signs\Electric Service Change-Residential only-diagram.doc | 02/08, 02/09, 05/09 |  |  |  |  |

Grounding Electrode System

Effective Date: Primary Building Permits applied for on or after June 30, 2003.

This change was made in the interest of Grounding and compliance with the current adopted edition of the NEC Article 250.56. In this application a supplementary (Ground Rod) will be required.

The grounding system shall also comply with the current adopted edition of the NEC Article 250 inclusively. Particular attention should be given to Articles 250.20, 250.36, 250.50, 250.52, 250.56.

Meter Can with Grounded Current Carrying Conductor (neutral wire) mechanically attached to the Meter Can and the Grounding Electrode Conductor (Ground Wire) by an approved method.

Grounding Electrode Conductor

Grounded Electrode Conductor

(Ground Wire) routed unbroken through an approved listed Water Pipe Grounding Terminal (listed water pipe clamp.) Note: Water pipe shall not intrude in required working space. This requirement only applies to metallic water pipe systems.

Approved Grounding Terminal (High-pressured Terminal, Cad- weld, Acorn Clamp, or Approved Terminal) Note: Grounded Electrode Conductor (Ground Wire) may be broken and re-terminated properly on the Grounding Electrode

Grounding Electrode (Ground Rod) Minimum 8 feet embedded in the earth.

Two ground rods required per 2002 NEC Article 250.56.

S:\Development\BUILDING\Forms-Templates-Signs\Electric Service Change-Residential only-diagram.doc	02/08, 05/09

3 of 4

Grounding Electrode System

Effective Date: Primary Building and or Electrical Permits applied for on or after June 30, 2005.

On free-standing Temporary Services, Irrigation Services, Lift Stations, Sign Services and like Electrical Services a second Grounding Electrode (Ground Rod) will be required of the other electrodes are available (as described in the current adopted edition of the NEC Articles 250.54 & 250.56). The second Grounding Electrode (Ground Rod) must be placed no closer than 6 feet apart and effectively tied together. The second Grounding Electrode is not required when the Electrical Contractor can demonstrate the first Electrode measures 25 Ohms or less to ground. (Current adopted edition of the NEC Article 250.56).

This change was made in the interest of Grounding and compliance with the current adopted edition of the NEC Article 250.50.

Approved Grounding Clamps suitable for direct

burial or Exothermic weld (Cad-weld).

Articles 250-70

Grounded Electrode Conductor

(Ground Wire) routed unbroken through an approved listed Water Pipe Grounding Terminal (listed water pipe clamp.) Note: Water pipe shall not intrude in required working space. This requirement only applies to metallic water pipe systems.

Separated by minimum

8 ft.	6 ft. or greater

between Electrodes

Grounding Electrode (Ground Rod) Minimum 8 feet embedded in the earth.

| S:\Development\BUILDING\Forms-Templates-Signs\Electric Service Change-Residential only-diagram.doc | 4 of 4 |
| --- | --- |