Corporate Safety - Template

Isolation Instruction

Section 1 – Work activity details

This form must be completed in accordance with the requirements of the WHS Energy Tag and Lockout Procedure (PRO-00014).

Isolation instructions must be developed or reviewed by an Seqwater authorised isolator for the site where the isolation is being performed.

Where required, the authorised isolator must also hold the appropriate qualification for the type of isolation being performed.

WO or Project No.:

Location of work activity:

Description of work activity:

Work activity details

|  |  |  |  | Date of isolation: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Isolation to be conducted by: |  |  |  |
|  |  | Isolation responsibilities |  |  |  |  |  |  |  |
|  |  |  |  | De-Isolation to be conducted by: |  |  |  |
|  |  | (Where isolation not |  |  |  |  |  |
|  |  | performed by Authorised |  |  |  |  |  |  |  |
|  |  |  |  | Hold points requiring Authorised |  |  |  |
|  |  | Isolator) |  |  |  |  |  |
|  |  |  |  | Isolator involvement: |  |  |  |  |
|  |  |  |  | Other requirements: |  |  |  |  |
|  |  |  |  |  |  |  | Name: | Date: |  |
|  |  |  |  | Operations | Y | N/A | Signature: |  |  |
|  |  |  |  |  |  |  | Name: | Date: |  |
|  |  |  |  | Electrical | Y | N/A | Signature: |  |  |
|  |  | Authorised isolator who |  |  |  |  |  |  |  |
|  |  | has prepared or reviewed |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Name: | Date: |  |
|  |  | isolation instruction. |  | Mechanical | Y | N/A |  |  |  |
|  |  |  |  |  |  |  | Signature: |  |  |
|  |  |  |  |  |  |  | Name: | Date: |  |
|  |  |  |  | Other | Y | N/A |  |  |  |
|  |  |  |  |  |  |  | Signature: |  |  |
|  |  | Documentation saved at |  | Insert Rex Number |  |  |  |  |  |

Rev. no.

8

Doc No.

TEM-00077

|  | Doc Owner | Version Date |  | Doc Approver |
| --- | --- | --- | --- | --- |
|  | HSW Systems and Improvements Specialist | 23/06/2021 |  | Principal - Health, Safety and Wellbeing |  |

The controlled version of this document is registered. All other versions are uncontrolled.

Page 1 of 6

Corporate Safety - Template

Isolation Instruction

Section 2 – Isolation procedure

Isolation Codes

| LVI | Low Voltage Isolation | HVI | High Voltage Isolation | OWI | Operations Work Instruction | DCR | De-contactor Removed | AD | Air Disconnected |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | (<1000V) |  |  |  |  |  |  |  |  |
| VLO | Valve Locked Open | VLC | Valve Locked Closed | TO / | Tagged Open / Tagged Closed | SI | Spade Inserted | SR | Spool Removed (Blank |
|  |  |  |  | TC |  |  |  |  | Fitted) |

Note: All HV Isolations require a High Voltage Access Permit (FRM-00439) and a High Voltage Switching Form (FRM-00438).

Devices not capable of being locked should, as far as reasonably practicable, be secured with a shroud, valve cover, chain, pin or other suitable means, or by the removal of the handle or operating mechanism. As a minimum, an isolation tag must be affixed to any isolation point not able to be secured with a red isolation lock.

| Step |  | Isolation Point Number / Description | Isolation Point Location | Code |  | Lock No. |  | Isolator name | Initial |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

- Access Officer / Duty Operator contacted before commencing isolation.

2

3

4

5

6

7

8

9

10

11

12

13

14

Rev. no.

8

Doc No.

TEM-00077

|  | Doc Owner | Version Date |  | Doc Approver |
| --- | --- | --- | --- | --- |
|  | HSW Systems and Improvements Specialist | 23/06/2021 |  | Principal - Health, Safety and Wellbeing |  |

The controlled version of this document is registered. All other versions are uncontrolled.

Page 2 of 6

Corporate Safety - Template

Isolation Instruction

Isolation diagram

Include a sketch of the isolation to support communication and understanding of isolation requirements. This may include system drawings, isolation points, isolation types etc.

Rev. no.

8

Doc No.

TEM-00077

|  | Doc Owner | Version Date |  | Doc Approver |
| --- | --- | --- | --- | --- |
|  | HSW Systems and Improvements Specialist | 23/06/2021 |  | Principal - Health, Safety and Wellbeing |  |

The controlled version of this document is registered. All other versions are uncontrolled.

Page 3 of 6

Corporate Safety - Template

Isolation Instruction

Section 3 – Test for dead / prove for dead procedure

Step

1

2

3

4

5

6

| Test Point Description | Test Point Location | Isolator name | Initial |
| --- | --- | --- | --- |

I confirm that all identified energy sources have been isolated, all residual energy has been dissipated, all isolation points have been locked or otherwise secured to prevent re-energisation, and the isolations have been tested and proven to be effective.

Isolation Officer

Name:	Date:

Signature:	Time:

NOTE: All workers who are working under the control of this isolation must sign on and off using Section 7 of this form.

Section 4 – Inch and test procedure

|  | Equipment to be Tested: | Type of Test: |  | Reason for Test: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Step | Isolation Point Number / Description | Date / Time | Re-energiser Name |  | Initial | Re-isolator Name | Initial |  |
|  | 1 |  |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |  |
|  | 4 |  |  |  |  |  |  |  |  |
|  | 5 |  |  |  |  |  |  |  |  |
|  | 6 |  |  |  |  |  |  |  |  |

Rev. no.

8

Doc No.

TEM-00077

|  | Doc Owner | Version Date |  | Doc Approver |
| --- | --- | --- | --- | --- |
|  | HSW Systems and Improvements Specialist | 23/06/2021 |  | Principal - Health, Safety and Wellbeing |  |

The controlled version of this document is registered. All other versions are uncontrolled.

Page 4 of 6

Corporate Safety - Template

Isolation Instruction

Section 5 – De-isolation procedure

| Step |  | Isolation Point Number / Description | Isolation Point Location |  | De-isolator Name | Initial |
| --- | --- | --- | --- | --- | --- | --- |

- Access Officer / Duty Operator contacted before commencing de-isolation.

2

3

4

5

6

7

8

9

10

11

12

13

14

5

Section 6 – Reinstatement

I confirm that all isolation equipment has been removed from isolation points, all isolated energy sources have been reinstated and the plant is available for normal operations.

Isolation Officer

Name:	Date:

Signature:	Time:

Rev. no.

8

Doc No.

TEM-00077

|  | Doc Owner | Version Date |  | Doc Approver |
| --- | --- | --- | --- | --- |
|  | HSW Systems and Improvements Specialist | 23/06/2021 |  | Principal - Health, Safety and Wellbeing |  |

The controlled version of this document is registered. All other versions are uncontrolled.

Page 5 of 6

Corporate Safety - Template

Isolation Instruction

Section 7 – Worker sign on / sign off

All workers who are working under the control of the isolation must sign on and off below at the same time that they are attaching and removing their blue personal locks to the lock board. By signing below, you are acknowledging that the effectiveness of the isolation has been proven to you.

Date

Name

Time On

Sign On

Time Off

Sign Off

Rev. no.

8

Doc No.

TEM-00077

|  | Doc Owner | Version Date |  | Doc Approver |
| --- | --- | --- | --- | --- |
|  | HSW Systems and Improvements Specialist | 23/06/2021 |  | Principal - Health, Safety and Wellbeing |  |

The controlled version of this document is registered. All other versions are uncontrolled.

Page 6 of 6