## Log Days 1-15
REFRIGERATOR TEMPERATURE MONITORING LOG: Days 1-15
| CLINIC NAME:_______________________________ | [11 empty] | PROVIDER PIN:_______________________________ | [11 empty] | F° |  | C°
| FRIDGE NAME/NUMBER:________________________ | [11 empty] | MONTH & YEAR:_________________________________
| 0. 1. 2. 3. 4. 5. 6. 7. | INSTRUCTIONS ON HOW TO RECORD TEMPERATURES: Enter Provider Information and circle if you are recording in C° or F° on the temperature log. Write your initials below in “Staff Initials,” and note the time in “Exact Time.” Record min/max once each workday (since previous recording), preferably in the morning. Record current temps twice, at beginning and end of each workday. Put an “X” in the row that corresponds to the refrigerator’s temperature. If any out-of-range temp, see instructions to the right. After each month has ended, save each month’s log for 3 years. | [13 empty] | 0. 1. 2a. 2. 3. 4. | Take action if temp is out of range - too warm (above 46°F / 8°C) or too cold (below 36°F / 2°C): Label exposed vaccine “do not use,” and store it under proper conditions as quickly as possible. Do not discard vaccines unless directed to by the manufacturer(s) and/or your state health department. Record the out-of-range temps and the room temp in the “Action” area on the bottom of the log. Notify your vaccine coordinator and follow the Vaccine Temperature Excursion Guide. Notify the state of the excursion, viability of the vaccines, and actions taken. For more information, visit: www.doh.wa.gov/CVP > Storage and Handling
Notes | Day of Month |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15
Min/Max Temp
Refrigerator
| Exact Time of Temp |  | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm
Room Temp
Staff Initials
Temperature | ≥49°F (9.5°C)
48°F (8.9°C)
47°F (8.4°C)
46°F (8°C)
45°F (7.3°C)
44°F (6.8°C)
43°F (6.2°C)
42°F (5.5°C)
41°F (5.0°C)
Refrigerator | 40°F (4.5°C)
39°F (3.9°C)
38°F (3.4°C)
37°F (2.7°C)
36°F (2°C)
35°F (1.7°C)
34°F (1.1°C)
33°F (0.6°C)
≤32°F (0.0°C)
Action | Please list any steps you've taken to address temperature or storage unit issues |  | DATE |  | °F /°C |  | Action Taken: Fridge control adjusted, notified DOH etc.
|  |  | 1/1 |  | 33.1 °F
If you have a disability and need this document in a different format, please call 1-800-525-0127 (TDD/TTY 711). DOH 348-077 June 2020
WARNING TOO WARM
WARNING TOO WARM
DANGER!!!
Call the manufacturer for vaccine viability
WARNING TOO COLD
WARNING TOO COLD
DANGER!!!
Call the manufacturer for vaccine viability
AIM for

## Log Days 16-31
REFRIGERATOR TEMPERATURE MONITORING LOG: Days 16-31
| CLINIC NAME:_______________________________ | [11 empty] | PROVIDER PIN:_______________________________ | [11 empty] | F° |  | C°
| FRIDGE NAME/NUMBER:________________________ | [11 empty] | MONTH & YEAR:_________________________________
| 0. 1. 2. 3. 4. 5. 6. 7. | INSTRUCTIONS ON HOW TO RECORD TEMPERATURES: Circle if you are recording in C° or F° on the temperature log. Write your initials below in “Staff Initials,” and note the time in “Exact Time.” Record min/max once each workday (since previous recording), preferably in the morning. Record current temps twice, at beginning and end of each workday. Put an “X” in the row that corresponds to the refrigerator’s temperature. If any out-of-range temp, see instructions to the right. After each month has ended, save each month’s log for 3 years. | [13 empty] | 0. 1. 2a. 2. 3. 4. | Take action if temp is out of range - too warm (above 46°F / 8°C) or too cold (below 36°F / 2°C): Label exposed vaccine “do not use,” and store it under proper conditions as quickly as possible. Do not discard vaccines unless directed to by the manufacturer(s) and/or your state health department. Record the out-of-range temps and the room temp in the “Action” area on the bottom of the log. Notify your vaccine coordinator and follow the Vaccine Temperature Excursion Guide. Notify the state of the excursion, viability of the vaccines, and actions taken. For more information, visit: www.doh.wa.gov/CVP > Storage and Handling
Notes | Day of Month |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24 |  | 25 |  | 26 |  | 27 |  | 28 |  | 29 |  | 30 |  | 31
Min/Max Temp
Refrigerator
| Exact Time of Temp |  | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm
Room Temp
Staff Initials
Temperature | ≥49°F (9.5°C)
48°F (8.9°C)
47°F (8.4°C)
46°F (8°C)
45°F (7.3°C)
44°F (6.8°C)
43°F (6.2°C)
42°F (5.5°C)
41°F (5.0°C)
Refrigerator | 40°F (4.5°C)
39°F (3.9°C)
38°F (3.4°C)
37°F (2.7°C)
36°F (2°C)
35°F (1.7°C)
34°F (1.1°C)
33°F (0.6°C)
≤32°F (0.0°C)
Action | Please list any steps you've taken to address temperature or storage unit issues |  | DATE |  | °F /°C |  | Action Taken: Fridge control adjusted, notified DOH etc.
|  |  | 1/1 |  | 33.1 °F
If you have a disability and need this document in a different format, please call 1-800-525-0127 (TDD/TTY 711). DOH 348-077 June 2020
WARNING TOO WARM
WARNING TOO WARM
WARNING TOO COLD
WARNING TOO COLD
DANGER!!!
Call the manufacturer for vaccine viability
DANGER!!!
Call the manufacturer for vaccine viability
AIM for

## F Log Days 1-15
FREEZER TEMPERATURE MONITORING LOG: Days 1-15
| CLINIC NAME:_______________________________ | [11 empty] | PROVIDER PIN:_______________________________ | [11 empty] | F° |  | C°
| FREEZER NAME/NUMBER:________________________ | [11 empty] | MONTH & YEAR:_________________________________
| 0. 1. 2. 3. 4. 5. 6. 7. | INSTRUCTIONS ON HOW TO RECORD TEMPERATURES: Circle if you are recording in C° or F° on the temperature log. Write your initials below in “Staff Initials,” and note the time in “Exact Time.” Record min/max once each workday (since previous recording), preferably in the morning. Record current temps twice, at beginning and end of each workday. Put an “X” in the row that corresponds to the freezer’s temperature. If any out-of-range temp, see instructions to the right. After each month has ended, save each month’s log for 3 years. | [13 empty] | 0. 1. 2a. 2. 3. 4. | Take action if temp is out of range - too warm (above 6°F / -14.4°C) or too cold (below -57°F / -50°C): Label exposed vaccine “do not use,” and store it under proper conditions as quickly as possible. Do not discard vaccines unless directed to by the manufacturer(s) and/or your state health department. Record the out-of-range temps and the room temp in the “Action” area on the bottom of the log. Notify your vaccine coordinator and follow the Vaccine Temperature Excursion Guide. Notify the state of the excursion, viability of the vaccines, and actions taken. For more information, visit: www.doh.wa.gov/CVP > Storage and Handling
Notes | Day of Month |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15
Min/Max Temp
Freezer
| Exact Time of Temp |  | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm
Room Temp
Staff Initials
8°F (-13.4°C)
Freezer Temperature | 7°F (-13.9°C)
6°F (-14.4°C)
5°F (-15.0°C)
4°F (-15.6°C)
3°F (-16.1°C)
2°F (-16.7°C)
1°F (-17.2°C)
0°F (-17.8°C)
-1°F (-18.3°C)
-2°F (-18.9°C)
-3°F (-19.4°C)
-4°F (-20.0°C)
-5°F (-20.6°C)
-6°F (-21.1°C)
-7°F to -57°F
≤-58°F (-50°C)
Action | Please list any steps you've taken to address temperature or storage unit issues |  | DATE |  | °F /°C |  | Action Taken: Fridge control adjusted, notified DOH etc.
|  |  | 1/1 |  | 33.1 °F
If you have a disability and need this document in a different format, please call 1-800-525-0127 (TDD/TTY 711). DOH 348-077 June 2020
WARNING TOO WARM
WARNING TOO WARM
WARNING TOO COLD
WARNING TOO COLD
DANGER!!!
Call the manufacturer for vaccine viability
DANGER!!!
Call the manufacturer for vaccine viability

## F Log Days 16-31
FREEZER TEMPERATURE MONITORING LOG: Days 16-31
| CLINIC NAME:_______________________________ | [11 empty] | PROVIDER PIN:_______________________________ | [11 empty] | F° |  | C°
| FREEZER NAME/NUMBER:________________________ | [11 empty] | MONTH & YEAR:_________________________________
| 0. 1. 2. 3. 4. 5. 6. 7. | INSTRUCTIONS ON HOW TO RECORD TEMPERATURES: Circle if you are recording in C° or F° on the temperature log. Write your initials below in “Staff Initials,” and note the time in “Exact Time.” Record min/max once each workday (since previous recording), preferably in the morning. Record current temps twice, at beginning and end of each workday. Put an “X” in the row that corresponds to the freezer’s temperature. If any out-of-range temp, see instructions to the right. After each month has ended, save each month’s log for 3 years. | [13 empty] | 0. 1. 2a. 2. 3. 4. | Take action if temp is out of range - too warm (above 6°F / -14.4°C) or too cold (below -57°F / -50°C): Label exposed vaccine “do not use,” and store it under proper conditions as quickly as possible. Do not discard vaccines unless directed to by the manufacturer(s) and/or your state health department. Record the out-of-range temps and the room temp in the “Action” area on the bottom of the log. Notify your vaccine coordinator and follow the Vaccine Temperature Excursion Guide. Notify the state of the excursion, viability of the vaccines, and actions taken. For more information, visit: www.doh.wa.gov/CVP > Storage and Handling
Notes | Day of Month |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24 |  | 25 |  | 26 |  | 27 |  | 28 |  | 29 |  | 30 |  | 31
Min/Max Temp
Freezer
| Exact Time of Temp |  | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm
Room Temp
Staff Initials
8°F (-13.4°C)
Freezer Temperature | 7°F (-13.9°C)
6°F (-14.4°C)
5°F (-15.0°C)
4°F (-15.6°C)
3°F (-16.1°C)
2°F (-16.7°C)
1°F (-17.2°C)
0°F (-17.8°C)
-1°F (-18.3°C)
-2°F (-18.9°C)
-3°F (-19.4°C)
-4°F (-20.0°C)
-5°F (-20.6°C)
-6°F (-21.1°C)
-7°F to -57°F
≤-58°F (-50°C)
Action | Please list any steps you've taken to address temperature or storage unit issues |  | DATE |  | °F /°C |  | Action Taken: Fridge control adjusted, notified DOH etc.
|  |  | 1/1 |  | 33.1 °F
If you have a disability and need this document in a different format, please call 1-800-525-0127 (TDD/TTY 711). DOH 348-077 June 2020
WARNING TOO WARM
WARNING TOO WARM
WARNING TOO COLD
WARNING TOO COLD
DANGER!!!
Call the manufacturer for vaccine viability
DANGER!!!
Call the manufacturer for vaccine viability