Backflow Prevention Device Inspection and

Maintenance Report Form

| Owner of Property____MILFORD BOARD OF EDUCATION__________ | Date__________________________________ |
| --- | --- |
| Mailing Address______70 WEST RIVER STREET ________________ | Examined by___________________________ |
|  | _____MILFORD______CT______________06460___ | Certificate #____________________________ |
|  |  | (Town) |  |  |  |  |  |  | (Zip) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Person______________________________________________ | RPZ |  | DCVA  | PVB |  |
| Device Address______________________________________________ | Bronze |  | Iron |  | St. Steel |  |
|  | ______________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (Town) |  |  |  |  |  |  | (Zip) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Exact Device Location________________________________________ | Make |  |  |  |  |  | Model No. ____________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Size |  |  |  |  |  |  | Serial No. ____________ |
|  |  |  |  |  | Reduce | Pressure Backflow | Preventer |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Pressure Vacuum | Breaker |  |  |
|  |  | DOUBLE | CHECK | VALVE ASSEMBLY |  |  |  |  |  |  |  |  |  |  |
|  |  | Check Valve No. 1 | Check Valve No. 2 |  | Relief Valve |  | Check Valve | Air Inlet |
|  |  | Closed Tight  | Closed Tight |  | Opened at |  | Closed Tight  | Opened at |
| Initial Test |  | Leaked |  |  | Leaked |  | _________PSID |  | Leaked |  | __________PSID |
|  |  | ____________PSID | ____________PSID | Did not Open  |  | ____________PSID | Did not Open  |

| Repairs |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Test After Repairs | Closed Tight  | Closed Tight  | Opened at | Closed Tight  | Opened at |
|  | __________PSID | ___________PSID | ___________PSID | ___________PSID | ___________PSID |
| Condition of No 2. | Shutoff Valve |  Closed Tight |  Leaked |  |  |

| Witnessed by:______________________________________ | PASS  | FAIL  |
| --- | --- | --- |
| _________________________________________________ | Remarks ______________________________________________ |
| Owner Agent |  |  |  |
| _________________________________________________ | ______________________________________________________ |
| Water Works Official |  |  |  |
| _________________________________________________ | ______________________________________________________ |
| State Official |  |  |  |
| _________________________________________________ | ______________________________________________________ |
| Certified Tester |  |  |  |
| Date: 10/20/03, REV. A | MTC-F008 | Page 1 of 1 |