Compressor Maintenance Report

for COMBI 8-22 and COMBI SC 11 & 22

Customer:

|  | Machine Model: |  |  |  |  |  |  |  |  |  |  | Serial Number: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Operating Hours Total: |  |  |  |  |  |  |  |  |  |  | Operating Hours Loaded: |  |  |  |  |  |
|  |  |  |  |  |  |  | Maintenance Interval (operating hours or elapsed time, whichever occurs first) |  |
|  | Maintenance Task |  |  | 500 h |  |  | 1,000 h |  |  | 2,000 h |  |  | 4,000 h |  |  | 16,000 h |  |  | 24,000 h |  |  | Done |  |  |  |  |
|  |  |  |  | Initial |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Comment |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes / No |  |  |  |  |
|  |  |  |  | 3 mth |  |  | 6 mth |  |  | 1 yr |  |  | 2 yr |  |  | 4 yr |  |  | 5 yr |  |  |  |  |  |  |  |
|  | Control system (compressor) |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Error log (control system) |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Error log (frequency converter) * |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Operation check |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Vibration |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Compressor - noise check |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Electric motor - noise check |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Intake filter (element) |  | C |  |  |  |  | ● |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | Compressor oil |  | ● |  | C |  | ● |  | ● |  | ● |  | ● |  |  |  |  | Type: |
|  | Oil filter |  | ● |  | ● |  | ● |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | Fine separator (cartridge) |  | C |  |  |  |  | ● |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | Seal set |  | C |  |  |  |  | ● |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | Oil temperature regulator |  | C |  |  |  |  |  |  |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | Intake regulator incl. control block |  | C |  |  |  |  |  |  |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | Solenoid valve(s) |  | C |  |  |  |  |  |  |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | Minimum pressure valve |  | C |  |  |  |  |  |  |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | Safety valve(s) |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Residual oil extraction system |  | C |  | C |  | C |  | C |  | C |  | ● |  |  |  |  |  |  |
|  | Air cooler |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Oil cooler |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Hoses (oil, air) |  | C |  | C |  | C |  | C |  | ● |  | C |  |  |  |  |  |  |
|  | Pipe joints and fittings |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Threaded fasteners |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Pressure sensor |  | C |  | C |  | C |  | C |  | ● |  | C |  |  |  |  |  |  |
|  | Electrical system |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Wiring |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Frequency converter ** |  | C |  | C |  | C |  | C |  | C |  | ● |  |  |  |  |  |  |
|  | Fan for frequency converter * |  | C |  | C |  | C |  | C |  | C |  | ● |  |  |  |  |  |  |
|  | Electric motor |  | C |  | C |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Electric motor bearings |  | C |  |  |  |  | ● |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | Elec. motor anti-vibration mounts * |  | C |  |  |  |  | C |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Drive belts (condition, tension, align) |  | C |  | C |  | C |  | ● |  | ● |  | C |  |  |  |  |  |  |
|  | Pulleys |  | C |  | C |  | C |  | C |  | ● |  | C |  |  |  |  |  |  |
| 2019-10-25 |  |  |  |  |  | ALMiG Kompressoren Australia |  |  |  |  |  |  | 1 |  |

Compressor Maintenance Report

for COMBI 8-22 and COMBI SC 11 & 22

|  |  |  |  |  |  |  | Maintenance Interval (operating hours or elapsed time, whichever occurs first) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Maintenance Task |  |  | 500 h |  |  | 1,000 h |  |  | 2,000 h |  |  | 4,000 h |  |  | 16,000 h |  |  | 24,000 h |  |  | Done |  |  |  |  |
|  |  |  |  | Initial |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Comment |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes / No |  |  |  |  |
|  |  |  |  | 3 mth |  |  | 6 mth |  |  | 1 yr |  |  |  | 2 yr |  |  | 4 yr |  |  | 5 yr |  |  |  |  |  |  |  |
|  | Compressor air end |  | C |  |  |  |  | C |  |  | C |  | C |  | ● |  |  |  |  |  |  |
|  | Shaft sealing ring for air end |  | C |  |  |  |  | C |  |  | C |  | C |  | ● |  |  |  |  |  |  |
|  | Temperature sensor for air end |  | C |  |  |  |  | C |  |  | C |  | C |  | ● |  |  |  |  |  |  |
|  | Refrigeration dryer |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Refrigerant compressor |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Refrigerant |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Pressure switch |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Capacitor |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Fan |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Line filter elements (pre-filters, fine |  | C |  |  |  |  | ● |  |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | filters and active carbon filters) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Condensate drain |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Clean compressor components |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Direction of rotation, drive motor |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Test run |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Seal integrity |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Maintenance message |  | C |  | C |  | C |  |  | C |  | C |  | C |  |  |  |  |  |  |
|  | Service label |  | ● |  | ● |  | ● |  |  | ● |  | ● |  | ● |  |  |  |  |  |  |
|  | The following must be documented each time maintenance is performed: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Loaded supply voltage (100%) L1/L2, L1/L3, L2/L3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Volt |  |  |  |
|  | Idle mode supply voltage L1/L2, L1/L3, L2/L3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Volt |  |  |  |
|  | Loaded current draw (100%) (terminal current) L1, L2, L3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Ampere |  |  |  |
|  | Idle mode current draw (terminal current) L1, L2, L3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Ampere |  |  |  |
|  | Frequency converter current draw * |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Ampere |  |  |  |
|  | Refrigeration dryer current draw |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Ampere |  |  |  |
|  | Compression end temperature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | °C |  |  |  |
|  | Pressure dew point |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | °C |  |  |  |
|  | Idle mode pressure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | bar |  |  |  |
|  | Operating pressure (from - to) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | bar |  |  |  |
|  | Ambient temperature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | °C |  |  |  |
|  | Ambient relative humidity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | % |  |  |  |  |

C = Check. If required set, correct, delete, clean or lubricate.

- = Service or replace.

* = If present.

** = If present, after 5 years, independent of the number of operating hours.

The maintenance intervals depend on the operating environment and are valid for cool, dry and clean ambient conditions. In adverse working conditions or high frequency load / unload switching, the maintenance intervals should be reduced by as much as 50%.

Date:	Technician Name:	Signature:

2019-10-25	ALMiG Kompressoren Australia	2

Compressor Maintenance Report

for COMBI 8-22 and COMBI SC 11 & 22

Comments and Notes

2019-10-25	ALMiG Kompressoren Australia	3