CITY OF CHARLOTTE PUBLIC WORKS WATER DEPARTMENT

111 E. Lawrence Ave.

Charlotte, MI 48813

Phone: (517) 543-8858 ● Fax: (517) 543-8851

Backflow Prevention Device

Inspection and Maintenance

Report Form

| Facility Name |  |  |  |  | Owner of Property |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Device Address |  |  |  |  | Device Address |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | □ RPBP |  | □ DCV |  | □ PVB |  |  |  |
| Contact Person |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tester’s Address |  |  |  |  | □ RPDA |  | □ DDCV | □ SVB |  |  |  |
| Phone |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Exact Device Location |  |  |  |  |  | Make |  |  |  |  | Model No. |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | Size |  |  |  |  |  |  | Serial No. |  |  |  |  |  |
| Line PSI |  |  |  |  |  | Reduced Pressure Backflow Preventer |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Double Check Valve Assembly |  |  |  |  |  |  |  |  |  | Pressure Vacuum Breaker |
| _______ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check Valve #1 | Check Valve #2 |  |  | Relief Valve |  | Check Valve |  | Air Inlet |
| Initial Test | Closed Tight □ | Closed Tight □ |  |  |  | Opened at |  | Closed Tight □ |  | Opened at |
| □ Pass | Leaked | □ | Leaked | □ |  |  | ______PSID |  | Leaked |  |  | □ | ______PSID |
| □ Fail | ______PSID | ______PSID |  | Did Not Open □ |  | ______PSID | Did Not Open □ |
| Repairs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Final Test | Closed Tight □ | Closed Tight □ |  |  | Opened at □ |  | Closed Tight □ | Opened at □ |
| □ Pass |  |  |  |  |  |  |  |  |
|  | ______PSID | ______PSID |  |  | ______PSID |  | ______PSID | ______PSID |
| Condition of No. 2 Shutoff Valve |  | Closed Tight □ |  |  |  |  | Leaked □ |  |  |  |  |  |  |  |

Notes:

Certification:  On this date, the above device was tested per applicable codes and the required performance standards.

| Test Type | Gauge No. | Testing Firm |  |
| --- | --- | --- | --- |
| Tester Name |  |  |  | Tester Certification No. |
| Tester Signature ______________ |  |  | ___ | Date _________________ |
| Contact Signature ______________ |  |  | ___ | Date _________________ |