CITY OF SCHERTZ	PWS # 0940003

1400 SCHERTZ PKWY

SCHERTZ, TEXAS 78154

PHONE (210) 619-1750

FAX (210) 619-1769

The following form must be completed for each assembly tested. A signed and dated ORIGINAL must be submitted to the City of Schertz for recordkeeping purposes. Incomplete forms will be returned.

BACKFLOW PREVENTION ASSEMBLY TEST AND MAINTENANCE REPORT

| TYPE OF ASSEMBLY: | RESIDENTIAL DEVICE ¨ | COMMERCIAL DEVICE ¨ |
| --- | --- | --- |
|  |  |  | ***MUST CHECK ONE*** |  |
| ¨ | Reduced Pressure Principle | ¨ | Double Check Valve |
| ¨ | Pressure Vacuum Breaker |  | ¨ | Spill-Resistant Pressure Vacuum Breaker |
| ¨ | Double Check-Detector |  | ¨ | Reduced Pressure Principle-Detector |
| Manufacturer: ____________________________ | Model Number: ____________________________ |
| Serial Number: ______________ | Size:_______ | Location of Device on the Property:___________________________ |
| Device Type:Irrigation |  | Domestic | Equipment | Fireline | Date Tested: ________________ |

Service Address:_____________________________________ New ____ Existing ____ Replacement ____

| Assembly ID #__________________ |  | Test Gauge ID # __________________ |  |
| --- | --- | --- | --- |
|  |  | Reduced Pressure Principle Assembly | Pressure Vacuum Breaker |
|  | Double Check Valve Assembly |  |  |  |
|  | 1st Check |  | 2nd Check |  | Relief Valve | Air Inlet | Check Valve |
| Initial | Held at ____ psid | Held at ____ psid | Opened at ___psid | Opened at ____ | Held at ____ |
| Test | Closed Tight | ¨ | Closed Tight | ¨ | Did not open ¨ | psid | psid |
|  | Leaked | ¨ | Leaked | ¨ |  | Did not open ¨ | Leaked ¨ |
| Repairs and |  |  |  |  |  |  |  |
| Materials |  |  |  |  |  |  |  |
| Used |  |  |  |  |  |  |  |
| Test After | Held at ____ psid | Held at ____ psid | Opened at ___psid | Opened at ____ | Held at ____ |
| Repairs/Final | Closed Tight | ¨ | Closed Tight ¨ |  | psid | psid |

**The fields for the Initial test, Final Test and Relief Valve must ALL be completed for RP devices. The 1st and 2nd check valve fields must be completed for all DC devices. TEST RECORDS MUST BE KEPT FOR AT LEAST 3 YEARS. USE ONLY MANUFACTURER’S REPLACEMENT PARTS** Is the assembly installed in accordance with manufacturer recommendations and/or local codes? Yes No

Test gauge used: Make/Model__________________ SN:________________ Date Tested for Accuracy: _______________

(The above is certified to be true at the time of testing.)

Remarks:___________________________________________________________________________________________

I hereby certify that the foregoing data is accurate and reflects the proper operation and maintenance of the captioned equipment. I personally performed or directly supervised the field test herein described. I hereby certify the device has been in constant use at this location in a manner required by Commission regulations during the entire prescribed Interval between test periods and during period this

device was not by-passed, made Inoperative or removed without proper authorization. All defects found during the operating period or during tests of the device were immediately corrected to the specification required by Commission regulations.

Firm Name:__________________________________

Printed Name of Certified Tester:_____________________

Firm Address:________________________________

Certified Tester Signature:___________________________

Firm Phone #:________________________________

Certified Tester No:____________	Date:______________

Form revised:	12/11/2012