Product Security White Paper Template

GENERAL INSTRUCTIONS

This Product Security White Paper Template is utilized to enable transparency and coordination with customers for robust medical device security partnership. The template provides an outline of the type of information to be included and is to be filled out by each product team. All items in red text should be replaced with the appropriate response.

Product Security White Paper

[insert company’s stance regarding product security].

[insert company’s name] has implemented reasonable administrative, technical and physical

safeguards to help protect against security incidents and privacy breaches involving a

[insert company’s name] product, provided those products are used in accordance with

[insert company’s name] instructions for use. However, as systems and threats evolve, no

system can be protected against all vulnerabilities and we consider our customers the most

important partner in maintaining security and privacy safeguards. If you have any concerns,

we ask that you bring them to our attention and we will investigate. Where appropriate, we

will address the issue with product changes, technical bulletins and/or responsible

disclosures to customers and regulators. [insert company’s name] continuously strives to

improve security and privacy throughout the product lifecycle using practices such as:

Privacy and Security by Design

Product and Supplier Risk Assessment Vulnerability and Patch Management Secure Coding Practices and Analysis

Vulnerability Scanning and Third-Party Testing Access Controls appropriate to Customer Data Incident Response

Clear paths for two-way communication between customers and [insert company’s name]

If you would like to report a potential product related privacy or security issue (incident, breach or vulnerability), please contact [insert company’s contact information here].

The purpose of this document is to detail how [insert company’s name] security and privacy practices have been applied to the [Insert Product Name], what you should know about maintaining security of this product and how we can partner with you to ensure security throughout this product’s lifecycle.

1 of 17

Product Security White Paper Template

Contents

Product Description	3

Hardware Specifications	3

Operating Systems	3

Third-party Software	3

Network Ports and Services	3

Sensitive Data Transmitted	3

Sensitive Data Stored	3

Network and Data Flow Diagram	4

Malware Protection	4

Authentication Authorization	4

Network Controls	4

Encryption	4

Audit Logging	4

Remote Connectivity	5

Service Handling	5

End-of-Life and End-of-Support	5

Secure Coding Standards	5

System Hardening Standards	5

Risk Summary	5

Third Party Soc2+ Reporting	6

Manufacturer’s Disclosure Statement for Medical Device Security	7

Disclaimer	17

2 of 17

Product Security White Paper Template

Product Description

[Insert basic description of function or purpose of the product or solution. Photo is optional, but recommended.]

Hardware Specifications

[List Hardware Components and Specs]

List List List

Operating Systems

[List Hardware Operating Systems and Versions]

List List List

Third-party Software

[List Third-Party Software]

| Vendor and Name | Version | Description |
| --- | --- | --- |
| XXXXX | XXX | XXXXX |

Network Ports and Services

[List Network Ports and Services]

| Port | Protocol | Service Name | Description of Service | Encrypted | Open/Closed |
| --- | --- | --- | --- | --- | --- |
| XXX | XXX | XXXXX | XXXXX | XXX | XXX |

Sensitive Data Transmitted

[List Sensitive Data Transmitted. This can include PHI/PII/Potential access to wireless credentials, etc.]

List List

Sensitive Data Stored

[List Sensitive Data Stored. This can include PHI/PII/Potential access to wireless credentials, etc.]

List List

3 of 17

Product Security White Paper Template

Network and Data Flow Diagram

[Provide a diagram that describes how the product resides in a customer environment, showing the system components (1 or N computers, routers, switches, adjacent systems, remote connectivity) types of connectivity (e.g. RS232, RJ45, Serial to TCP/IP conversion), what types of data is in transit and at rest (e.g. PHI, QC, config data), and how these are secured (e.g. in transit IPSec, HTTPS/TLS, WIFI WPA2PSK; at rest BitLocker, SQL TDE)]

Malware Protection

[Describe and recommend the antimalware measures available (e.g. validated AV solutions, AV partners, how AV is managed, Application Whitelisting like AppLocker or McAfee Embedded Control, advanced antimalware solutions, Software Restriction Policies)]

Authentication Authorization

[Describe and recommend the controls that customers have with user’s authenticating and granting permissions to features and functionality, how users are managed, the default use accounts on the system and how to change and configure accounts]

Network Controls

[Describe and recommend the firewall rules, IPSec rules, host file restrictions, browser Internet access restrictions, MAC and IP address filtering)]

Encryption

[Describe and recommend where and how encryption is applied on the system (e.g. all network traffic is TLS 1.2, at rest is BitLocker with AES 256)]

Audit Logging

[Describe the audit logging process, where they are stored, what an auditable event entails, who has access to audit logs and any file permissions].

i.e. Application Auditing

- Audit file location: E:\PieRoot\Logfiles\*.pld

- Audit files hashed with SHA256 when complete for integrity. o Auditable Events:

  - Service Start/Stop

  - User login/logout

  - User session created/destroyed.

  - User login from multiple workstations.

  - Client application connect/disconnect with IP address and port.

  - Failed client connection attempts.

  - Changes in application configuration.

  - Failed/successful attempts to access, modify, or delete security objects; e.g. roles, permissions, etc.

4 of 17

Product Security White Paper Template

Audit file permissions:

- Administrators group: Read. o Auditors group: Read.

o  DB Auditors group: Full control.

o  DB Administrators group: Full control.

o  Virtual/Managed service accounts (audit file creators): Full control.

- Users: None.

Remote Connectivity

[Describe the nature of remote connectivity, what ports, protocols, URLs and endpoints for communication as well as security measures applied to the remote connection (e.g. TLS, )]

Service Handling

[Describe what routine maintenance service personal perform, what security policies and procedures they follow (e.g. never take PHI or PII, on-site authorization protocol, encrypted removable media, hardened service laptops, whether or not service laptops connect to product, routine AV update during visit, secure installation/implementation principles, service authentication to product, decommissioning process, once decommissioned how the product hard drive is wiped, how the product is recovered from the field or destroyed, and what customer data and features service personnel interact with)]

End-of-Life and End-of-Support

[Describe the life cycle of the product in relation to when it will no longer be sold, updated, and supported. Provide dates if available, otherwise describe how EOL/EOS is communicated.]

Secure Coding Standards

[Describe the secure coding standards used]

[List the industry secure coding standards used during software development (e.g. SEI CERT Java Secure Coding Standard)]

System Hardening Standards

[Describe the secure hardening standards used, may also create appendix to list out standards used.]

| Name of Standard | Version Number | Source of Standard |  |
| --- | --- | --- | --- |
| [Insert name of standard] | [Insert version number] | [Insert URL] |  |

Risk Summary

[This section should contain a summarization of risks found within a penetration test, remediation report, or other topics and compensating controls that correspond to additional risks outlined in the product security white paper. This may also include any findings from application scans.]

5 of 17

Product Security White Paper Template

Third Party Soc2+ Reporting

[Delete this section if a SOC2 audit is not available for your product.

Check with your Product Security group to determine if you product is within scope.]

Our commitment to ongoing Service Organization Control (SOC) Type II Plus reporting enhances the transparency of our relationship with customers. This reporting allows for visibility into the policies, procedures and processes governing the use of data gathered from customer environments.

Using an independent third party, we annually test and report on the operating effectiveness of controls in relation to the trust services principles & criteria for security and availability, as well as NIST800-66 (An Introductory Resource Guide for Implementing the Health Insurance Portability and Accountability Act (HIPAA) Security Rule). The third party firm completes their reporting in alignment with the American Institute of Certified Public Accountants (AICPA) over the suitability of the design and operating effectives of controls to meet the applicable criteria.

As part of this year’s fourth annual review, the following areas will be assessed:

- Security Management Process

- Security Official

- Workforce Security

- Information Access Management

- Security Awareness and Training

- Security Incident Procedures

- Contingency Plan

- Evaluation

- Business Associate Contracts and Other Arrangements

- Facility Access Controls

- Workstation Use

- Workstation Security

- Device and Media Controls

- Access Controls

- Report Controls

- Integrity

- Person or Entity Authentication

- Transmission Security

- Business Associate Monitoring Process

- Policies and Procedures

[Intentionally left blank]

6 of 17

Product Security White Paper Template

Manufacturer’s Disclosure Statement for Medical Device Security

Otherwise known as the MDS2 form, this section provides an industry standard convention for security information. [Use section even if not a “regulated” medical device. Delete spaces in-between tables and ensure the first two rows of the Device Description category are displayed on every page.]

Manufacturer Disclosure Statement for Medical Device Security – MDS2

DEVICE DESCRIPTION

| Device Category | Manufacturer | Document ID | Document Release Date |
| --- | --- | --- | --- |
| [enter text and code here] | [insert company’s name] | [e.g. 234-234323] | [YYYY-MM] |
| Device Model | Software Revision | Software Release Date |  |
| [product name] | [version] | [YYYY-MM-DD] |  |

|  | Company Name | Manufacturer Contact Information |
| --- | --- | --- |
| Manufacturer | [insert company’s name] | [insert company contact information] |
| or |  |  |
| Representative |  |  |
| Contact | Representative Name/Position |  |
| Information |  |  |
|  | [Customer support number] |  |

Intended use of device in network-connected environment:

[enter the Intended use here as stated in 510(k) clearance or PMA approval.]

Intended purpose of integrating the Device into an IT-Network:

[e.g. Remote Service, EMR, LIS, HIS]

MANAGEMENT OF PRIVATE DATA

Yes, No,

| Refer to Section 2.3.2 of HIMSS/NEMA HN 1-2013 standard for the proper interpretation of information | N/A, or |
| --- | --- |
| requested in this form. |  |
|  |  | See Note |
| A | Can this device display, transmit, or maintain private data (including electronic Protected Health |  |
|  | Information [ePHI])? ................................................................................................................................. | ______ |
| B | Types of private data elements that can be maintained by the device: |  |
|  | B.1 Demographic (e.g., name, address, location, unique identification number)? .................................... | ______ |
|  | B.2 Medical record (e.g., medical record #, account #, test or treatment date, device identification |  |
|  | number)? ........................................................................................................................................... | ______ |

Note #

__

__

__

7 of 17

Product Security White Paper Template

|  | B.3 Diagnostic/therapeutic (e.g., photo/radiograph, test results, or physiologic data with identifying |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | characteristics)? ................................................................................................................................. |  |  | ______ | __ |  |
|  | B.4 | Open, unstructured text entered by device user/operator? ............................................................. |  | ______ | __ |  |
|  | B.5 | Biometric data? ................................................................................................................................ |  |  | ______ | __ |  |
|  | B.6 | Personal financial information? .......................................................................................................... |  | ______ | __ |  |
| C | Maintaining private data - Can the device: |  |  |  |  |  |
|  | C.1 | Maintain private data temporarily in volatile memory (i.e., until cleared by power-off or reset)? ...... | ______ | __ |  |
|  | C.2 | Store private data persistently on local media? ................................................................................ |  | ______ | __ |  |
|  | C.3 | Import/export private data with other systems?................................................................................. |  | ______ | __ |  |
|  | C.4 | Maintain private data during power service interruptions? ............................................................... |  | ______ | __ |  |
| D | Mechanisms used for the transmitting, importing/exporting of private data – Can the device: |  | ______ |  |  |
|  | D.1 | Display private data (e.g., video display, etc.)? ................................................................................ |  | ______ | __ |  |
|  | D.2 | Generate hardcopy reports or images containing private data? | ........................................................ | ______ | __ |  |
|  | D.3 | Retrieve private data from or record private data to removable media (e.g., disk, DVD, CD- |  |  |  |
|  |  | ROM, tape, CF/SD card, memory stick, etc.)? .................................................................................. |  | ______ | __ |  |
|  | D.4 | Transmit/receive or import/export private data via dedicated cable connection (e.g., IEEE 1073, |  |  |  |
|  |  | serial port, USB, FireWire, etc.)? ....................................................................................................... |  | ______ | __ |  |
|  | D.5 | Transmit/receive private data via a wired network connection (e.g., LAN, WAN, VPN, intranet, |  |  |  |
|  |  | Internet, etc.)? .................................................................................................................................... |  |  | ______ | __ |  |
|  | D.6 | Transmit/receive private data via an integrated wireless network connection (e.g., WiFi, |  |  |  |  |
|  |  | Bluetooth, infrared, etc.)? .................................................................................................................. |  |  | ______ | __ |  |
|  | D.7 | Import private data via scanning? .................................................................................................... |  | ______ | __ |  |
|  | D.8 | Other? ................................................................................................................................................ |  |  | ______ | __ |  |
| Management |  |  |  |  |  |  |
| of private | [Fill in] |  |  |  |  |  |  |
| data notes: |  |  |  |  |  |  |
| Device Category | Manufacturer | Document ID | Document Release Date |  |
| [enter text and code here] | [insert company’s name] | [e.g. 234-234323] | [YYYY-MM] |  |  |  |
| Device Model | Software Revision | Software Release Date |  |  |  |  |
| [product name] | [version] | [YYYY-MM-DD] |  |  |  |  |
|  |  |  | SECURITY CAPABILITIES |  |  |  |  |
|  |  |  |  |  |  |  | 8 of 17 |

Product Security White Paper Template

|  | Yes, No, |
| --- | --- |
| Refer to Section 2.3.2 of HIMSS/NEMA HN 1-2013 standard for the proper interpretation of information | N/A, or |
| requested in this form. |  |
|  | See Note |

Note #

- AUTOMATIC LOGOFF (ALOF)

The device's ability to prevent access and misuse by unauthorized users if device is left idle for a period of time.

1-1	Can the device be configured to force reauthorization of logged-in user(s) after a predetermined length

of inactivity (e.g., auto-logoff, session lock, password protected screen saver)? ........................................	______	__

1-1.1	Is the length of inactivity time before auto-logoff/screen lock user or administrator configurable?

(Indicate time [fixed or configurable range] in notes.) ......................................................................	______	__

1-1.2	Can auto-logoff/screen lock be manually invoked (e.g., via a shortcut key or proximity sensor,

etc.) by the user? ............................................................................................................................	______	__

ALOF	[The hint to the “Security Package” is not enough. Please write more details about the behavior of the

notes:	system.]

- AUDIT CONTROLS (AUDT)

The ability to reliably audit activity on the device.

2-1	Can the medical device create an audit trail?

|  | ______ | __ |
| --- | --- | --- |
| 2-2 Indicate which of the following events are recorded in the audit log: |  |
| 2-2.1 | Login/logout |  |
|  | ............................................................................................................................................................ ______ | __ |
| 2-2.2 | Display/presentation of data |  |
|  | ............................................................................................................................................................ ______ | __ |
| 2-2.3 | Creation/modification/deletion of data |  |
|  | ............................................................................................................................................................ ______ | __ |
| 2-2.4 | Import/export of data from removable media |  |
|  | ............................................................................................................................................................ ______ | __ |
| 2-2.5 | Receipt/transmission of data from/to external (e.g., network) connection |  |
|  | ............................................................................................................................................................ ______ | __ |
| 2-2.5.1 Remote service activity |  |
|  | ............................................................................................................................................................ ______ | __ |
| 2-2.6 Other events? (describe in the notes section) |  |
|  | ............................................................................................................................................................ ______ | __ |

2-3	Indicate what information is used to identify individual events recorded in the audit log:

2-3.1	User ID

............................................................................................................................................................	______	__

2-3.2	Date/time

............................................................................................................................................................	______	__

9 of 17

Product Security White Paper Template

AUDT

notes:

[The hint to the “Security Package” is not enough. Please write more details about the behavior of the system.]

- AUTHORIZATION (AUTH)

The ability of the device to determine the authorization of users.

| 3-1 Can the device prevent access to unauthorized users through user login requirements or other |  |  |
| --- | --- | --- |
| mechanism? |  |  |  | ______ | __ |
| 3-2 Can users be assigned different privilege levels within an application based on 'roles' (e.g., guests, |  |  |
| regular users, power users, administrators, etc.)? ........................................................................................ |  | ______ | __ |
| 3-3 Can the device owner/operator obtain unrestricted administrative privileges (e.g., access operating |  |  |
| system or application via local root or admin account)? ................................................................................. |  | ______ | __ |
| AUTH | [The hint to the “Security Package” is not enough. Please write more details about the behavior of the |  |
| notes: | system.] |  |  |  |  |  |
| Device Category |  | Manufacturer | Document ID | Document Release Date |
| [enter text and code here] | [insert company’s name] | [e.g. 234-234323] | [YYYY-MM] |  |
| Device Model |  | Software Revision | Software Release Date |  |  |  |
| [product name] |  | [version] | [YYYY-MM-DD] |  |  |  |
|  |  |  |  |  | Yes, No, |  |
| Refer to Section 2.3. of HIMSS/NEMA HN 1-2013 standard for the proper interpretation of information | N/A, or | # |
|  |  | requested in this form. |  |  |  | Note |
|  |  |  |  |  | See Note |  |

- CONFIGURATION OF SECURITY FEATURES (CNFS)

The ability to configure/re-configure device security capabilities to meet users’ needs.

4-1	Can the device owner/operator reconfigure product security capabilities? ...............................................	______	__

CNFS

notes:

- CYBER SECURITY PRODUCT UPGRADES (CSUP)

The ability of on-site service staff, remote service staff, or authorized customer staff to install/upgrade device's security patches.

5-1

5-1.1

Can relevant OS and device security patches be applied to the device as they become available? .......... ______ Can security patches or other software be installed remotely? ..................................................................... ______

__

__

| CSUP | [Please let it also know who is authorized to install security patches] |
| --- | --- |
| notes: |  |

- HEALTH DATA DE-IDENTIFICATION (DIDT)

The ability of the device to directly remove information that allows identification of a person.

6-1	Does the device provide an integral capability to de-identify private data? ................................................	______	__

10 of 17

Product Security White Paper Template

DIDT

[Details to the anonymization function are recommended]

notes:

- DATA BACKUP AND DISASTER RECOVERY (DTBK)

The ability to recover after damage or destruction of device data, hardware, or software.

7-1

Does the device have an integral data backup capability (i.e., backup to remote storage or removable media such as tape, disk)? ........................................................................................................................

______

__

| DTBK | [Information to the applicable procedure are necessary] |
| --- | --- |
| notes: |  |

- EMERGENCY ACCESS (EMRG)

The ability of device users to access private data in case of an emergency situation that requires immediate access to stored private data.

8-1

Does the device incorporate an

emergency access (“break-glass”) feature? ...........................................

_____

__

EMRG notes:

[If there are restrictions additional information’s are required.]

- HEALTH DATA INTEGRITY AND AUTHENTICITY (IGAU)

How the device ensures that data processed by the device has not been altered or destroyed in an unauthorized manner and is from the originator.

9-1

Does the device ensure the integrity of stored data with implicit or explicit error detection/correction technology? ..................................................................................................................................................

______

__

IGAU

notes:

11 of 17

Product Security White Paper Template

| Device Category | Manufacturer | Document ID | Document Release Date |
| --- | --- | --- | --- |
| [enter text and code here] | [insert company’s name] | [e.g. 234-234323] | [YYYY-MM] |
| Device Model | Software Revision | Software Release Date |  |
| [product name] | [version] | [YYYY-MM-DD] |  |

Yes, No,

Refer to Section 2.3.2 of HIMSS/NEMA HN 1-2013 standard for the proper interpretation of information N/A, or requested in this form.

See Note

- MALWARE DETECTION/PROTECTION (MLDP)

The ability of the device to effectively prevent, detect and remove malicious software (malware).

| 10-1 | Does the device support the use of anti-malware software (or other anti-malware mechanism)? ............ | ______ |
| --- | --- | --- |
|  | 10-1.1 | Can the user independently re-configure anti-malware settings? .................................................. | ______ |
|  | 10-1.2 | Does notification of malware detection occur in the device user interface? ................................... | ______ |
|  | 10-1.3 | Can only manufacturer-authorized persons repair systems when malware has been detected? ... | ______ |
| 10-2 | Can the device owner install or update anti-virus software? ..................................................................... | ______ |
| 10-3 | Can the device owner/operator (technically/physically) update virus definitions on manufacturer- |  |
|  | installed anti-virus software? ...................................................................................................................... | ______ |

| MLDP | [Information about the time schedule is needed. As appropriate refer to service contract and/or SLA.] |
| --- | --- |
| notes: |  |

Note #

__

__

__

__

__

__

- NODE AUTHENTICATION (NAUT)

The ability of the device to authenticate communication partners/nodes.

11-1	Does the device provide/support any means of node authentication that assures both the sender and the

recipient of data are known to each other and are authorized to receive transferred information? ...............	______	__

| NAUT | [Please consider remote access too] |
| --- | --- |
| notes: |  |

- PERSON AUTHENTICATION (PAUT) Ability of the device to authenticate users

| 12-1 Does the device support user/operator-specific username(s) and password(s) for at least one user? .... | ______ | __ |
| --- | --- | --- |
| 12-1.1 Does the device support unique user/operator-specific IDs and passwords for multiple users? ............ | ______ | __ |
| 12-2 | Can the device be configured to authenticate users through an external authentication service (e.g., MS |  |  |
|  | Active Directory, NDS, LDAP, etc.)? ............................................................................................................. | ______ | __ |
| 12-3 | Can the device be configured to lock out a user after a certain number of unsuccessful logon attempts? | ______ | __ |
| 12-4 | Can default passwords be changed at/prior to installation? ......................................................................... | ______ | __ |
| 12-5 | Are any shared user IDs used in this system? ............................................................................................. | ______ | __ |

12 of 17

Product Security White Paper Template

12-6	Can the device be configured to enforce creation of user account passwords that meet established

complexity rules? ..........................................................................................................................................	______	__

12-7	Can the device be configured so that account passwords expire periodically? ...........................................	______	__

PAUT	[If 12-2 Yes, then additional information to the applicable methods are important. Especially for MS Active

notes:	Directory.]

- PHYSICAL LOCKS (PLOK)

Physical locks can prevent unauthorized users with physical access to the device from compromising the integrity and confidentiality of private data stored on the device or on removable media.

13-1	Are all device components maintaining private data (other than removable media) physically secure

| (i.e., cannot remove without tools)? ................................................................................................................ | ______ __ |
| --- | --- |
| PLOK |  |  |  |
| notes: |  |  |  |
| Device Category | Manufacturer | Document ID | Document Release Date |
| [enter text and code here] | [insert company’s name] | [e.g. 234-234323] | [YYYY-MM] |
| Device Model | Software Revision | Software Release Date |  |
| [product name] | [version] | [YYYY-MM-DD] |  |
|  |  |  | Yes, No, |

| Refer to Section 2.3.2 of HIMSS/NEMA HN 1-2013 standard for the proper interpretation of information | N/A, or |
| --- | --- |
| requested in this form. |  |
|  | See Note |

- ROADMAP FOR THIRD PARTY COMPONENTS IN DEVICE LIFE CYCLE (RDMP) Manufacturer’s plans for security support of 3rd party components within device life cycle.

14-1	In the notes section, list the provided or required (separately purchased and/or delivered) operating system(s) - including version number(s).

______

14-2	Is a list of other third party applications provided by the manufacturer available?

______

RDMP

notes:

- SYSTEM AND APPLICATION HARDENING (SAHD) The device's resistance to cyber attacks and malware.

15-1	Does the device employ any hardening measures? Please indicate in the notes the level of conformance to any industry-recognized hardening standards.

______

15-2	Does the device employ any mechanism (e.g., release-specific hash key, checksums, etc.) to ensure the installed program/update is the manufacturer-authorized program or software update?

______

Note #

__

__

__

__

13 of 17

Product Security White Paper Template

15-3	Does the device have external communication capability (e.g., network, modem, etc.)?

______	__

15-4	Does the file system allow the implementation of file-level access controls (e.g., New Technology File System (NTFS) for MS Windows platforms)?

______	__

15-5	Are all accounts which are not required for the intended use of the device disabled or deleted, for both users and applications?

______	__

15-6	Are all shared resources (e.g., file shares) which are not required for the intended use of the device, disabled?

______	__

15-7	Are all communication ports which are not required for the intended use of the device closed/disabled?

______	__

15-8	Are all services (e.g., telnet, file transfer protocol [FTP], internet information server [IIS], etc.), which are not required for the intended use of the device deleted/disabled?

______	__

15-9	Are all applications (COTS applications as well as OS-included applications, e.g., MS Internet Explorer, etc.) which are not required for the intended use of the device deleted/disabled?

______	__

15-10 Can the device boot from uncontrolled or removable media (i.e., a source other than an internal drive or memory component)?

______	__

15-11 Can software or hardware not authorized by the device manufacturer be installed on the device without the use of tools?

______	__

| SAHD | [Mentioned 15-7: A list of the opened ports are strongly recommended] |
| --- | --- |
| notes: |  |

- SECURITY GUIDANCE (SGUD)

The availability of security guidance for operator and administrator of the system and manufacturer sales and service.

16-1	Are security-related features documented for the device user?

______	__

16-2	Are instructions available for device/media sanitization (i.e., instructions for how to achieve the permanent deletion of personal or other sensitive data)?

______	__

SGUD

notes:

14 of 17

Product Security White Paper Template

| Device Category | Manufacturer | Document ID | Document Release Date |
| --- | --- | --- | --- |
| [enter text and code here] | [insert company’s name] | [e.g. 234-234323] | [YYYY-MM] |
| Device Model | Software Revision | Software Release Date |  |
| [product name] | [version] | [YYYY-MM-DD] |  |

Yes, No,

Refer to Section 2.3.2 of HIMSS/NEMA HN 1-2013 standard for the proper interpretation of information N/A, or requested in this form.

See Note

Note #

- HEALTH DATA STORAGE CONFIDENTIALITY (STCF)

The ability of the device to ensure unauthorized access does not compromise the integrity and confidentiality of private data stored on device or removable media.

17-1	Can the device encrypt data at rest?

______	__

| STCF | [If Yes, additional information about the method is recommended] |
| --- | --- |
| notes: |  |

- TRANSMISSION CONFIDENTIALITY (TXCF)

The ability of the device to ensure the confidentiality of transmitted private data.

18-1	Can private data be transmitted only via a point-to-point dedicated cable?

______	__

18-2	Is private data encrypted prior to transmission via a network or removable media? (If yes, indicate in the notes which encryption standard is implemented.)

______	__

18-3	Is private data transmission restricted to a fixed list of network destinations?

______	__

TXCF

notes:

- TRANSMISSION INTEGRITY (TXIG)

The ability of the device to ensure the integrity of transmitted private data.

19-1	Does the device support any mechanism intended to ensure data is not modified during transmission? (If yes, describe in the notes section how this is achieved.)

______	__

TXIG

notes:

- OTHER SECURITY CONSIDERATIONS (OTHR)

Additional security considerations/notes regarding medical device security.

20-1	Can the device be serviced remotely?

______	__

15 of 17

Product Security White Paper Template

20-2	Can the device restrict remote access to/from specified devices or users or network locations (e.g., specific IP addresses)?

______	__

20-2.1 Can the device be configured to require the local user to accept or initiate remote access?

........................................................................................................................................................	______	__

OTHER

Notes:

16 of 17

Product Security White Paper Template

Disclaimer

The information contained in this Product Security White Paper is for reference purposes only. Nothing contained in this document or relayed verbally to any customer will be deemed to amend, modify or supersede the terms and conditions of any written agreement between such customer and [insert company’s name], or [insert company’s name] subsidiaries or affiliates (collectively, “[insert company’s name]”) . [insert company’s name] does not make any promises or guarantees to customer that any of the methods or suggestions described in this Product Security White Paper will restore customer’s systems, resolve any issues related to any malicious code or achieve any other stated or intended results. Customer exclusively assumes all risk of utilizing or not utilizing any guidance described in this Product Security White Paper.

17 of 17