## Core
Pennsylvania Water Authority Asset Management Spreadsheet | [24 empty] | Renewal Program Funding Strategy
Asset Inventory | [9 empty] | State of My Assets? | Which Are Most "Critical"? |  |  |  | Renewal / Replacement Strategy |  |  |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Asset Register * |  |  |  |  | Asset Tag** | Year Installed | Original Cost | Effective Life | Original Planned Replacement Year | Condition Rating | Backup Reduction (Redundancy) | Probability of Failure | Consequence of Failure | BRE Rating | Renewal / Replacement Strategy | Cost of Renewal / Replacement Option | Recommended Renewal / Replacement Year | Future Value of Renewal / Replacement Cost
Levels | [5 empty] | Years | $ | Years | Years | 1 to 10 | % | Rel. to col. K | 1 to 10 |  | Comments | Current Value |  | Discount Rate
1 | 2 | 3 | 4 | 5 |  | Act or Est | Act or Est |  | (G+I) | (See AM Plan) |  | (10-K) | (See AM Plan) | =(1-L)*M*N | (See AM Plan) | Estimate | Adjusted per BRE | 2.5%
Wastewater System
| Collection System | [18 empty] | Renewal Program Funding Strategy 2020: 60183.7749
|  | Piping (clay) | [17 empty] | Renewal Program Funding Strategy 2021: 67271.339
|  |  | Seg: 3A-1 (895' x 8") |  | CI6.001 | 1919 | 8950 | 100 | 2019 | 8 | 0% | 2 | 3 | 6 | 6 | 44750 | 2020 | 60183.7749 |  | Renewal Program Funding Strategy 2022: 71708.4214
|  |  | Seg: 3A-2 (976' x 8") |  | CI6.002 | 1919 | 9760 | 100 | 2019 | 8 | 0% | 2 | 3 | 6 | 6 | 48800 | 2021 | 67271.339 |  | 2016: 350000
|  |  | Seg: 3A-3 (1015' x 10") |  | CI6.003 | 1919 | 10150 | 100 | 2019 | 6 | 0% | 4 | 5 | 20 | 6 | 50750 | 2022 | 71708.4214
|  |  | Seg: 4A-1 (885' x 16") |  | CI10.001 | 1895 | 8850 | 100 | 1995 | 3 | 0% | 7 | 5 | 35 | 6 | 341250 | 2016 | 350000
|  |  | Seg: 4A-2 (1015' x 10") |  | CI6.004 | 1936 | 15000 | 100 | 2036 | 6 | 0% | 4 | 3 | 12 | 2 |  | 2025 | 0
|  |  | Seg: 4A-3 (667' x 8") |  | CI6.005 | 1948 | 15000 | 100 | 2048 | 6 | 0% | 4 | 3 | 12 | 2 |  | 2045 | 0
|  |  | Seg: 5A-1 (825' x 16") |  | CI10.002 | 2002 | 285000 | 100 | 2102 | 10 | 0% | 0 | 9 | 0 | 6 | 350000 | 2075 | 1830488.5877
|  |  | Seg: 5A-2 (774' x 8") |  | CI6.006 | 1936 | 22000 | 100 | 2036 | 4 | 0% | 6 | 5 | 30 | 7 | 110000 | 2035 | 214258.002
|  |  | Seg: 5B-1 (927' x 8") |  | CI6.007 | 1942 | 25000 | 100 | 2042 | 4 | 0% | 6 | 5 | 30 | 7 | 110000 | 2045 | 274268.3568 |  | Renewal Program Funding Strategy 2021: 88224.7069
|  |  | Seg: 5B-2 (245' x 8") |  | CI6.008 | 1936 | 5950 | 100 | 2036 | 4 | 0% | 6 | 3 | 18 | 8 | 59500 | 2020 | 80020.885 |  | Renewal Program Funding Strategy 2022: 67116.2565
|  |  | Seg: 6A-1 (818' x 12") |  | CI10.003 | 1936 | 6400 | 100 | 2036 | 4 | 0% | 6 | 3 | 18 | 8 | 64000 | 2021 | 88224.7069 |  | Renewal Program Funding Strategy 2023: 158588.6492
|  |  | Seg: 6A-2 (912' x 10") |  | CI6.009 | 1936 | 4750 | 100 | 2036 | 4 | 0% | 6 | 3 | 18 | 8 | 47500 | 2022 | 67116.2565 |  | Renewal Program Funding Strategy 2024: 3340.1376
|  |  | Seg: 6A-3 (445' x 8") |  | CI6.010 | 1936 | 10950 | 100 | 2036 | 4 | 0% | 6 | 3 | 18 | 8 | 109500 | 2023 | 158588.6492
|  |  | Seg: 6A-4 (225' x 8") |  | CI6.011 | 1945 | 375 | 100 | 2045 | 6 | 0% | 4 | 1 | 4 | 6 | 2250 | 2024 | 3340.1376
|  |  | Seg: 6A-5 (124' x 8") |  | CI6.012 | 1995 | 61600 | 100 | 2095 | 8 | 0% | 2 | 1 | 2 | 8 | 25200 | 2035 | 49084.5605
| Treatment Plant | [18 empty] | 2018: 38402.5363
|  | Headworks |  |  | H(1-2)(.001-100) | 1982 | 125000 | 75 | 2057 | 7 | 0% | 2 | 10 | 20 | 6 |  | 2057 | 0
|  | Primaries |  |  | P(1-2)(.001-100) | 1940 | 100000 | 75 | 2015 | 6 | 50% | 4 | 10 | 20 | 6 | 30000 | 2018 | 38402.5363
|  | Secondaries |  |  | S(1-2)(.001-100) | 1982 | 500000 | 75 | 2057 | 8 | 50% | 2 | 10 | 10 | 3 |  | 2060 | 0 |  | 2018: 64004.2272
|  | Clarifiers |  |  | C(1-2)(.001-100) | 1982 | 285000 | 75 | 2057 | 8 | 50% | 2 | 10 | 10 | 3 |  | 2060 | 0
|  | Disinfection |  |  | D1(.001)-100) | 1940 | 150000 | 75 | 2015 | 6 | 50% | 4 | 10 | 20 | 6 | 50000 | 2018 | 64004.2272
|  | Disinfection (2) |  |  | D2(.001-100) | 1948 | 165000 | 75 | 2023 | 6 | 50% | 4 | 10 | 20 | 6 | 60000 | 2060 | 216666.7409
|  | Solids Handling |  |  | S(.001-100) | 1982 | 100000 | 75 | 2057 | 8 | 0% | 2 | 10 | 20 | 3 |  | 2060 | 0
|  |  |  | Total Waste |  |  | 1914735 | [8 empty] | 1503500 |  | 3633627.1821 |  | 0 | 350000 | 0 | 102406.7635 | 0 | 60183.7749 | 155496.0459 | 138824.6779 | 158588.6492 | 3340.1376 | 0
[19 empty] | Budget Strategy | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
[19 empty] | 1. Renewal / Replace Costs | 0 | 350000 | 0 | 102406.7635 | 0 | 60183.7749 | 155496.0459 | 138824.6779 | 158588.6492 | 3340.1376 | 0
| Additional Features that AM systems can provide: | [7 empty] | Level of detail that asset inventory should provide: | [9 empty] | 2. O&M | 796419.455 | 816329.9413 | 836738.1899 | 857656.6446 | 879098.0607 | 901075.5122 | 923602.4001 | 946692.4601 | 970359.7716 | 994618.7658 | 1019484.235
| o Analysis of failure modes | [17 empty] | 3. Total Cash Needs (1+2) | 796419.455 | 1166329.9413 | 836738.1899 | 960063.4081 | 879098.0607 | 961259.2871 | 1079098.4459 | 1085517.138 | 1128948.4208 | 997958.9035 | 1019484.235
| o Record of repair costs by asset | [7 empty] | List assets to the level of detail that they would likely be replaced. For | [9 empty] | 4. Pay from current revenue (9x11) | 772200 | 784700 | 797300 | 810000 | 822800 | 835700 | 848700 | 861800 | 875000 | 888300 | 901700
| o Emergency vs planned repairs | [7 empty] | example, a system may choose to treat all pipe that is of a given age and material as a single asset if it would likely | [9 empty] | 5. Total to borrow* (3-4) | 24219.455 | 382840.9141 | 58580.2356 | 152992.4199 | 63947.6817 | 128756.6712 | 236836.2795 | 235558.9519 | 265726.3684 | 122945.2219 | 123931.4961
| o Tie to Maint Mgmt Sys | [7 empty] | be replaced or rehab at the same time. | [9 empty] | 6. New Annual Debt to retire | 1943.4317 | 30720.1454 | 4700.6297 | 12276.5076 | 5131.3274 | 10331.7684 | 19004.3558 | 18901.8597 | 21322.5713 | 9865.4427 | 9944.5839
| o Use database system to allow more data and more manipulation | [17 empty] | 7. Past Debt retirement | -563.4475 | 1379.9842 | 32100.1296 | 36800.7593 | 49077.2669 | 54208.5943 | 64540.3627 | 83544.7185 | 102446.5783 | 123769.1495 | 133634.5922
| o Incorporate Env Mgmt Sys concepts to improve performance and save money | [17 empty] | 8. Total Budget need (4+6+7) | 773579.9842 | 816800.1296 | 834100.7593 | 859077.2669 | 877008.5943 | 900240.3627 | 932244.7185 | 964246.5783 | 998769.1495 | 1021934.5922 | 1045279.1761
[19 empty] | 9. Number of Households | 1170 | 1180 | 1190 | 1200 | 1210 | 1220 | 1230 | 1240 | 1250 | 1260 | 1270
| * This asset list is abbreviated for display purposes, Assets are typically listed to the level of detail that lists individual components that would be replaced. | [17 empty] | 10. Cost Per Household (8/9) | 661.1795 | 692.2035 | 700.925 | 715.8977 | 724.8005 | 737.9019 | 757.9225 | 777.6182 | 799.0153 | 811.0592 | 823.0545
| **Drinking water and wastewater systems should use whatever numbering system is appropriate for their system. | [17 empty] | 11. Actual User Charge | 660 | 665 | 670 | 675 | 680 | 685 | 690 | 695 | 700 | 705 | 710
[19 empty] | 12. Surplus / Deficit (11-10) | -1.1795 | -27.2035 | -30.925 | -40.8977 | -44.8005 | -52.9019 | -67.9225 | -82.6182 | -99.0153 | -106.0592 | -113.0545
[19 empty] | 13. Reserve Fund (Emergency Only) | 535000 | 540000 | 545000 | 550000 | 555000 | 560000 | 565000 | 570000 | 575000 | 580000 | 585000
[19 empty] | 14. O&M Escalation (Annual) | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5%
15. Borrowing Rate (Annual) | bar: 660 to 710
Note on R4: Recommended Renewal Date: Consider the original planned replacement date. Factor in the condition rating and the BRE. Insert appropriate date.
Note on L4: Redundancy: Make allowance for the Level of Redundancy .Reduce PoF by: 50% Backup 50% 100% Backup 90% 200% Secondary Backup 98%
Note on I4: Estimated Effective Life: (This is just a starting point) Effective Lives (Years) Asset Type Average Effective Lives Civil Structures 75 Pressure Pipe work 60 Sewers – Gravity Pipe work. 100 Mechanical 40 Electrical Motors (large) 35 Other Electrical 30 Controls 25 Building Assets 60
Note on G4: Installed Date: Set the date you believe the asset was first put into service.
Note on S4: Future Value of Renewal costs - Using the interst rate below, the future value of the renewal cost is calculated. This is then placed in the appropriate column in the Renewal Program Funding Strategy columns to the right.
Note on P4: Record in this column your decision on what will be done at the expected end of the asset's life. You may decide to increase maintenance, repair, rehabilitate, or replace. See the next row down for more options.
Note on H4: Original Cost: These costs could be estimated by using current renewal/replacement costs deflated back to year of acquisition using a construction CPI. original costs = current costs x (1 / ((1+i)^n))
Note on Q4: Cost of Renewal Option: For this column you need to use your best valued judgement. Prepare cost estimates in current $ and only for what will be accomplished during the "planning timeframe" of the analysis (in this example, 20 years). Use the best information you can get including : engineering estimators, manufacturers & agents & your knowledgeable staff & construction contractors (ask them for a price) The spreadsheet will take this value and do two things with it. 1. It will calculate a future value based on the interest rate posted and the recommended renewal date in the next column. 2. It will place that future value in the appropriate column to the left under the Renewal Program Funding Strategy. Consequently, the only value that should be placed in this column is the one time capital cost to rehabilitate or replace the asset. If you have selected increased maintenance which will increase annual O&M cost, you will need to reflect that additional costs in the O&M line item below. (See Cell T44 below)