SAMPLE LOG SHEET – This sheet should be modified to suit the type of pool (see notes on reverse)

<Insert Name of centre> <Insert name of pool>			Date _______________

Pool Water Testing

|  | <Insert POR range for this pool> | <Insert POR range for this pool> | Break point 0.0mg/L at the first test of the day | pH range 7.0-7.8 | Total Alkalinity range 80-200mg/L | Cal. Hard mg/L | Corrective actions taken | Name of tester | Signature of tester |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Time testing Due | Time testing conducted | Temp oC | Total Chlorine mg/L DPD 1+3 (a) | Free Chlorine mg/L DPD 1 (b) | Combined Chlorine mg/L Total-Free (a-b) | pH | Total Alkalinity |  |  |  |  |
| 6am |  |  |  |  |  |  |  |  |  |  |  |
| 9am |  |  |  |  |  |  |  |  |  |  |  |
| 12pm |  |  |  |  |  |  |  |  |  |  |  |
| 3pm |  |  |  |  |  |  |  |  |  |  |  |
| 6pm |  |  |  |  |  |  |  |  |  |  |  |
| 9pm |  |  |  |  |  |  |  |  |  |  |  |
| Daily Ave. |  |  |  |  |  |  |  |  |  |  |  |

Cyanurate acid concentration (weekly measurement)_____________  Date ___________

Water Balance

Using the water balance chart on reverse, calculate the Langelier Saturation Index (LSI). The ideal LSI is 0.2 and the range is –0.5 to 0.5.

____   +  _____  +  ____  +  ____  -  12.1  =  _______	Calculated by (signature) _____________________________

pH            TF          CF         AF                        LSI

Daily Maintenance Log Detail what was undertaken and at what time of the day.

| Maintenance area | Maintenance undertaken | Time of maintenance | Signature |
| --- | --- | --- | --- |

Review by manager Data and corrective action to be reviewed by facility manager daily

| Further action required or taken or other comments | Name of Manager | Signature of manager | Date |
| --- | --- | --- | --- |

Water Balance Chart

| Temperature (C°) | Temperature Factor | Calcium (Hardness) | Calcium Hardness Factor | Total Alkalinity | Alkalinity Factor |
| --- | --- | --- | --- | --- | --- |
| 0 | 0.0 | 5 | 0.3 | 5 | 0.7 |
| 3 | 0.1 | 25 | 1.0 | 25 | 1.4 |
| 8 | 0.2 | 50 | 1.3 | 50 | 1.7 |
| 12 | 0.3 | 75 | 1.5 | 75 | 1.9 |
| 16 | 0.4 | 100 | 1.6 | 100 | 2.0 |
| 19 | 0.5 | 150 | 1.8 | 150 | 2.2 |
| 24 | 0.6 | 200 | 1.9 | 200 | 2.3 |
| 29 | 0.7 | 300 | 2.1 | 300 | 2.5 |
| 34 | 0.8 | 400 | 2.2 | 400 | 2.6 |
| 40 | 0.9 | 800 | 2.5 | 800 | 2.9 |
| 53 | 1.0 | 1000 | 2.6 | 1000 | 3.0 |

# Text boxes

Combined chlorine must not exceed 1 mg/L and should not be more the half the free chlorine

LSI = pH + TF + CF + AF - 12.1
where:
TF = Temperature factor
CF = Calcium Hardness factor
AF = Alkalinity Factor

# Notes for modifying this log sheet for your pool

Use a separate sheet for each pool for each day.

Print on different coloured paper for each different pool.

Change the Health Prescribed Operating Requirement (POR) levels so they are appropriate for the type of pool. This depends on if the pool is indoor or outdoor, the temperature and the type of disinfection used. See Public Health Regulation 2012, Schedule 1.

If used for a bromine pool, the breakpoint is not really important, and DPD 1 measures bromine.

If used for an ozone pool, insert a space to record when a check is done and the results.

If an automatic controller is used, and the results are input, then there needs to be a place to enter a manual reading to compare with the automatic.