**Certificate of Conformity**

for AFILS according to IEC 60118-4:2006

*Designed to be used in conjunction with the test and commissioning procedure*

|  |  |  |
| --- | --- | --- |
| 1 | Volume of use | Determine required area & height for hearing aid use |
| Seated only: |  | Typical: 1.2m Possible range: 1.0m to 1.4m |
| Standing: |  | Typical: 1.7m Possible range: 1.0m to 2.0m |

*Sketch of floorplan, and target coverage area: (indicate scale / dimensions)*

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |

*Determine 4 to 6 points (e.g. A to F) inside the floorplan to examine – center, corner, sides, front / back etc*

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Measurement point | A | B | C | D | E | F | G | H | J | K |
| height (in meters) = |  |  |  |  |  |  |  |  |  |  |
| 2 | Background noise | Investigate the target coverage area for noise, and indicate any problem zones on the floorplan. | Areas >-22dB Areas >-32dB |  |
|  |
| 3 | Field strength | initial |  |  |  |  |  |  |  |  |  |  |
| final |  |  |  |  |  |  |  |  |  |  |
| 4 | Frequency response | 100Hz and 5kHz should be ±3dB relative to the 1kHz reading |
|  | initial | **100Hz** |  |  |  |  |  |  |  |  |  |  |
| **1kHz** |  |  |  |  |  |  |  |  |  |  |
| **5kHz** |  |  |  |  |  |  |  |  |  |  |
| final | **100Hz** |  |  |  |  |  |  |  |  |  |  |
| **1kHz** |  |  |  |  |  |  |  |  |  |  |
| **5kHz** |  |  |  |  |  |  |  |  |  |  |
| 5 | Field strength confirm |  |  |  |  |  |  |  |  |  |  |
| 6 | Overspill | *Is test required ? Yes**No* |  |  |  |  |  |  |  |
|  |
| 7 | System use |  |  |  |  |  |  |  |  |  |  |
| Customer: | Installer Co: | Equipment: |
| Venue: | Installer Name: | Serial No(s) |
| Room: | Comments: |
| Other details: |

**Declaration that the system has been commissioned to achieve performance as required by IEC60118-4:2006.**

Signed: Dated:

DX30013-1